SECTION VI

WORKS REQUIREMENT, TECHNICAL SPECIFICATIONS, DRAWINGS/LAYOUTS, SUPPLEMENTARY INFORMATION AND BILL OF QUANTITIES

# Section IV. Works Requirement, Technical Provisions, Drawings/layouts, Supplementary Information & Bill of Quantities

## Scope of Works

The scope of work includes:

- Excavation

- RCC Footing

- RCC Column

- Brick Work

- Plaster Work

- Weather shield Paint

- M.S Main & wicket Gate

- G.I. Razor wire 18" Height on Boundary Wall

- Windows & Flooring of Guard Room

- Bathroom, Kitchen Tiles & Fixtures of Guard Room

- Water Boring & Overhead fiber tank

- Making Earth Embankment internal & External side of Boundary Wall

## Technical Specifications

Technical Specifications are attached in Annex A at the end of this document.

## Drawings

Bill of Quantities

| Bill # | Description |
| --- | --- |
| 1 | Civil Works |
| 2 | Electrical Works |

SUMMARY

| Bill # | Description |
| --- | --- |
| 1.1 | Excavator |
| 1.2 | Concretor |
| 1.3 | Brick Layer. |
| 1.4 | Paviour. |
| 1.5 | Terrazzo, Stone and Tile Worker. |
| 1.6 | Plasterer and Pointer |
| 1.7 | Water Proofer and Damp Proofer |
| 1.8 | Rainwater Drainage for Roofs |
| 1.9 | Carpenter and joiner |
| 1.10 | Metal Work |
| 1.11 | Painter and Decorator. |
| 1.12 | Water Suplly, Sanitary, Plumbing, Fixture & Sewerage. |
| 1.13 | Roofer and water proofer |
| 1.14 | Sui Gas |
| 1.15 | Miscellaneous |
| 1.16 | Electricity |

Bill No. 1.1 Title: Excavator

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Excavation for foundation trenches and drains in all kinds of soil (except gravelly and murum soil, wet silt, clay or mud conglomeration of gravel and boulders, soft, sandy or disintegrated sandy and hard rock) and back filling the excavated material in foundation, plinth or under floor including breaking clods, watering, consolidation by ramming in layers not exceeding 9 inches (229 mm) in depth to full compaction, dressing and disposal of surplus excavated stuff as directed. | 8500.00 | 100 Cft |
| 2 | Providing Anti -termite treatment by spraying /sprinkling /spreading Fipronil emulsion as an overall pre -construction treatment both vertically and horizontally anti-termite (agenda)shall be excavation base, side & plinth area etc. complete and as per instructions of engineer in charge. | 1720.00 | P.Sft |
| 3 | Selected/approved earth fill under floors in layers, earth brought from out side including transportation, ramming, watering, compacting, leveling and necessary lead and lift, complete. | 16250.00 | 100 Cft |
| 4 | Supplying stacking and filling sand of approved quality from outside sources in foundation, trenches, plinth or under floor, etc. including dressing, watering and consolidation by ramming in layers not exceeding 9 inches (229 mm) in depth to full compaction and lift upto 5 feet (1 .52 m). | 110.00 | 100 Cft |
| 5 | Make earth embankment around Boundary Wall with approved quality earth obtained from outside the site of work including digging, loading and un-loading and filling breaking clots, dressing watering and consolidation by ramming in layers, all lead included. | 32500.00 | 100 Cft |

Bill No. 1.2, Title: Concretor

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Provide, mix, lay compact, level, finish and cure etc., lean concrete 1:4:8 using 1" down crush in foundation including formwork and its removal, complete in all respects. | 830.00 | 100 Cft |
| 2 | Provide, mix, lay, compact, vibrate, level, finish, cure etc., cast-in situ structural reinforced concrete of 3000 PSI 28 days cube strength having the nominal mix proportions not leaner than 1:2:4, including formwork and its removal, complete in all respects, excluding only the steel reinforcement in:- |  |  |
|  | 1): Footings, bases | 1100.00 | 100 Cft |
|  | 2):Plinth Beam | 480.00 | 100 Cft |
|  | 3): Suspended Beam | 90.00 | 100 Cft |
|  | 4): Suspended Slab | 235.00 | 100 Cft |
|  | 5): Parapit Wall | 50.00 | 100 Cft |
| 3 | 2):Dito as item above but in Columns concrete of 4000 PSI 28 days cylindrical strength heaving the nominal mix proportions not leaner than 1:1 ½ :3). |  |  |
|  | -Up to Plinth | 590.00 | 100 Cft |
|  | -Ground Floor | 380.00 | 100 Cft |
| 4 | Provide, clean, cut, bend, place, in position, bind etc., steel reinforcement bars including cost of binding wire, spacer blocks, steel charis/pins, wastage and the overlaps not shown in drawings, complete in all respects: |  |  |
|  | 1): Round deformed steel bars of 40,000 PSI yield strength (intermediate grade). | 5660.00 | Kg |
| 5 | Providing and laying in situ 1:2:4 cement concrete using crushed stone 3/4 inch (19 mm) and down gauge in architraves, coping and cornice etc. of required shape in superstructure including compacting, curing, cost of form work and its removal etc., complete. | 115.00 | 100 Cft |

Bill No. 1.3, Title: Brick Layer

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Providing and laying first class brick masonry more than 9" thick in foundations and plinth set in ratio 1:5 cement sand mortar including curing etc., complete. | 3180.00 | 100 Cft |
| 2 | Provide, lay, cure etc. first class burnt brickwork in walls in superstructure, including form work etc. complete:- |  |  |
|  | 1. 9" and over thick, set in 1:5 cement sand mortar |  |  |
|  | - Ground Floor | 2015.00 | 100 Cft |
|  | 2. 4-1/2" thick, set in 1:4 cement sand mortar |  |  |
|  | - Ground Floor | 320.00 | 100 Cft |

Bill No. 1.4, Title: Paviour

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Provide, lay, compact, finish, cure etc. 2" thick PCC 1:2:4 topping/flooring in panels using marble dividers in joints. | 100 | 100 Sft |
| 2 | Provide, mix, lay, compact, level finish, cure etc., lean concrete 1:4:8 using ¾" down crushed stone including Formwork and its removal, complete in all respect (under floor). | 105 | 100 Cft |

Bill No. 1.5, Title: Terrazzo, Stone and Tile Worker

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | P/L 1/2" Thick Marble patties panel Strips of 1" to 1-1/2" depth In floor & Dado of any Description in all floor. | 160 | Rft |
| 2 | Providing and laying marble flooring comprising 24″ x 12″ x 7/8″ tiles resized fixed in neat cement buttering laid over 1¼″ thick P.C.C. 1:2:4 using ¼″ down course aggregates to final level/slopes, including filling joints with white cement, curing, grinding, sand papering and polishing in chemical polish complete as per specification. Marble quality to be “Badel-light/Ziarat Light Gray” and subject to prior approval by the Engineer, at any floor. | 315 | 100 Sft |
| 3 | Providing and fixing marble skirting cladding etc.in 24"x4"x 3/8" pre-polished (in chemical polish) tiles with neat cement buttering over 1/2" thick 1:3 cement sand rough plaster including filling joints, curing etc., complete as per specification . Marble quality shall be the same as used in the flooring and shall comply with thepattern requirements as directed. | 35 | 100 Sft |
| 4 | Providing and laying marble flooring in tiles of size from 3 to 8 S.ft each and 7/8" thick, in stair treads, risers and where directed, pre-polished in chemical polish, laid/bedded in 3/4" thich cement mortar 1:4 with neat cement buttering including curing, finishing, at any floor, complete. The marble quality shell be "Ziarat White" and subject or prior approval by the Engineer Incharge. | 20 | 100 Sft |
| 5 | Provide, lay, joint, cure, etc. 1” total thick glazed (glossy) ceramic tiles dado using “Master” (Supreme Quality) tiles of approved colour and shade in toilets, including ¼” thick neat cement buttering on back of tiles, remaining thickness made up with 1:3 cement sand rough base, complete “Size: 1.5 sq.ft to 3 sq.ft |  |  |
|  | Ground Floor | 160.00 | 100 Sft |
| 6 | P/F flooring comprising 1 square foot to 2 square foot of “Master” supreme quality non glazed skid free tiles of approved shade set in neat cement paste not exceeding ¼” thick and filling the joint with neat while cement slurry using matching colouring i/c 3/4” thick base in 1:2 cement sand mortar laid over a bed of 1 ½” thick P.C.C 1:2:4 i/c cleaning & curing etc, complete. |  |  |
|  | Ground Floor | 30.00 | 100 Sft |

Bill No. 1.6, Title: Plasterer and Pointer

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
|  | 1) All non-compression joints between concrete and masonry shall be specially treated before plastering, as under:- |  |  |
|  | A 8 inch wide heavy gauge approved quality expanded metal strip shall be tightly fixed centrally over the joint with 1 inch steel nails 12 inches centre to centre longitudinally on both side of joint. |  |  |
|  | Rates for all kinds of plaster include the cost of labour as well as the materials related to providing/fixing this expanded metal and no separate/additional payment shall be made for this work/item. |  |  |
| 1 | Provide, apply, finish smooth, cure, etc. ½" thick 1:5 cement sand internal plaster to wall upto any height etc. complete. |  |  |
|  | - Ground Floor | 830.00 | 100 Sft |
| 2 | Provide, apply, finish smooth, cure, etc. 3/8" thick 1:3 cement sand ceiling plaster, complete up to any height. |  |  |
|  | - Ground Floor | 330.00 | 100 Sft |
| 3 | Provide, apply, finish smooth, cure, etc. ¾″ thick 1:4 cement sand external plaster, complete upto any height. |  |  |
|  | - Ground Floor | 9860.00 | 100 Sft |
|  | - First Floor | 330.00 | 100 Sft |
| 4 | Providing 3/4" (19 mm) thick ornamental plaster with 1:3 cement mortar on walls, columns and slabs finished smooth in basement, plinth mezzanine and ground floor including curing etc., complete. | 980.00 | 100 Sft |

Bill No. 1.7, Title: Water Proofer and Damp Proofer

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Provide, lay, finish, cure, horizontal DPC in 1½″ thick PCC 1:2:4, one coat of bitumen (S.I. or 10/20) and one layer of 50 gauge (0.001 inch) polythene sheet, complete. | 100.00 | 100 SFT |
| 2 | Provide, lay, finish, cure, etc, vertical DPC in ¾″ thick 1:3 cement sand plaster, one coat of bitumen (S.I. or 10/20) and one layer of 50 gauge (0.001 inch) polythene sheet, complete. | 170.00 | 100 SFT |

Bill No. 1.8, Title: Rain Water Drainage for Roofs

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Provide and install 4" dia PVC rain water of (Shavyl, Galco, Beta) down pipe with mild steel clamps bolts and nuts fixed in cement concrete 1:2:4 etc complete. |  |  |
|  | i) 4" inside dia | 15.00 | RFT |
| 2 | Provide and install 4" dia PVC bend of any degree for rainwater down pipe with clamps bolts and nuts fixed in cement concrete 1:2:4 etc complete. |  |  |
|  | i) 4" inside dia | 2.00 | Each |
| 3 | Provide, laying 1:2:4 cement concrete 2" thick Khurrahs 2'- 0" x 2'-0" size on roof including finishing with cement plaster 1:4, curing etc. complete. | 1.00 | Each |

Bill No. 1.9, Title: Carpenter and Joiner

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Providing and fixing 1½″ thick hollow flush shutters with and including the cost of commercial plywood facing 3.7 mm thick on both faces fixed over best quality deodar wood frame according to drawing including ½″ thick best quality deodar wood lipping on all sides including the cost of approved quality rough and finish hardware, fittings and fixtures like hinges, tower bolts and handles etc. all as shown in drawings for doors etc., but excluding the cost of door lock, sliding bolt, door holder and kick plate paid separately. | 40 | Sft |
| 2 | Providing and fixing 1½″ thick best quality deodar wood panelled shutter as per drawings. Door fittings to be fixed as per hardware schedule i/c hinges, handles and tower bolts etc. complete but excluding cost of kick plates, door lock and sliding bolts. | 15 | Sft |
| 3 | Providing and fixing 1-1/4 inches thick best quality deodar wood shutters fully panelled with same wood approved i/c supplying and fixing haps & staple,tower bolts, handles and hinges etc. as directed and approved, complete. | 16 | Sft |
| 4 | Providing and fixing mortise door lock with handle and duplicate keys, made in Hungry (imported) or equivalent. | 3 | Each |
| 5 | Providing and fixing on door frame etc. with sunken iron screw best quality deodar wood moulding/ beading/ architrave etc. of approved design (2¼″ x 5/8″ x 3/8″ Taper), as per drawing complete. | 50 | Rft |
| 6 | Providing and fixing aluminium windows/ventilators having fixed glazed portion and sliding glazed & fly screen shutter with handles rollers and locking arrangement, glazing in 5 mm thick clear glass, main frame section to be of 101 x 30 x 2 m.m. thick & glazed fixed/moveable shutter frame of 45 m.m. x 25 m.m. x 2 m.m. thick and fly screen in 43 x 13½" x 1.4 m.m. thick section of M/s. Kruddson or Lucky in original aluminium colour, complete as per drawings, specification & direction of the Engineer. | 48 | Sft |

Bill No. 1.10, Title:	Metal Work

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Providing and fixing G.I./ M.S. molded steel door frames of 10" x 2-1/2" manufactured from mild steel sheet of 18 gauge conforming to B.S.S. 1245 having a double rebate size 1-1/2" x 1/2" (38 mm x 12 mm) provision of 3 Nos. M.S. plate, section 1-1/2" x 1/4" (38 mm x 6 mm) (2 Nos. 6 inch long welded with frame at not less than 10 points and 1 Nos. 12 inch long welded with frame at not less than 20 points), with holes and threads for fixing steel hings, fitted with one locking box of same sheet (point welded inside the frame), 6 Nos. 6 inches long flat iron fixing lugs of 1-1/4" x 3/16" section, treated with special red oxide primer coat all around including cutting holes and filling the cavity with cement concrete 1:2:4 etc. in any floor at any height complete as directed by the Engineer-in-Charge. | 51 | Rft |
| 2 | Provide & fix M.S. grills in 3/8″ x 3/8″ square flat iron or M.S. Bar to windows/ventilators etc., complete as per drawing including welding, grinding and finishing i/c one coat of red oxide paint (Fixed at site as per Engineer Incharge instruction). | 35 | Kg |
| 3 | Providing and fixing G.I razor wire (1 kg = 2 RFT) 18 gauge 1'-6" dia at 6" center to center with double razor and 1/4" dia G-I wire bars at top and bottom etc complete as per direction of the Engineer Incharge. | 230 | Kg |
| 4 | Providing & fixing M.S Tees, Angles and Flats including riveting fixing with bolts, nuts etc. complete with hoisting, erecting & welding in position in steel trusses, frames towers & Ladders/Stairs etc. of any design at any floor. | 220 | Per Kg |

Bill No. 1.11, Title:	Painter and Decorator

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Provide and apply one coat of Dulux/Robbialac Primeon/Alkali Resisting Masonry Sealer and minimum 3 coats of Vinyl Emulsion/ Robbaialac/Dulux, including surface preparation, filling and rubbing etc., complete in all respects, upto any height at any floor. | 1300 | 100 Sft |
| 2 | Provide and apply enamel painting with ready mix paint of Dulux/Robbialac make, 3 coats over and i/c the coat of priming/filling/finishing, complete at any height in any floor as per specifications, on: |  |  |
| 3 | i): Wood work. | 150 | 100 Sft |
| 4 | ii): Steel work i/c grills and plastered surfaces | 235 | 100 Sft |
| 5 | Providing/applying 3 coats of ICI weather Shield paint to plastered surface in approved colour/shade and according to the approved colour scheme including applying primer of same manufacturer. The surface is to be properly prepared by rubbing, sand papering, cleaning, filling and making smooth before applying the priming coats, complete as directed any height at any floor. | 11160.00 | 100 Sft |

Bill No. 1.12, Title: Water Suplly, Sanitary, Plumbing, Fixture & Sewerage.

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | P/Fixing of water closet 3Star, ICL/forte make orisa-900 white export Qty with low down golden (Plastic) plushing cistern 3 gallon capicity i/c syhonic fitting 1/2" dia C.P brass stop cock (Master/Faisal) C.P connection 1 1/2" dia G.I flush pipe with extra bend length fitting clamp P-Trap etc complete | 1 | Each |
| 2 | Providing and fixing wash-hand Basin 3 Star, ICL/Forte or equalient approved make Fregate/ 60 cm (white export quality) including brackets, bracket bolts, chain plug, ½″ dia C.P. inlet connections, C.P. brass stop cock (Masster/Faisal make), 1¼″ dia C.P. brass bottle trap with union coupling and G.I/ C.P waste complete including painting pipes and brackets as specified including ½″ dia pillar cock of Magna make (brackets of 1״ x 1״ x 1/8״ of Angle Iron). | 1 | Each |
| 3 | Extra over item above for providing and fixing matching white glazed earthen ware pedestal ICL/Forte make, export quality. | 1 | Each |
| 4 | Extra over item above for providing single hole chromium plated mixer tap ½" dia Magna make, instead of the pillar cock i/c P/F one additional C.P. Brass stop cock (Magna make) complete. | 1 | Each |
| 5 | Providing and fixing 24″ x 18″ mirror of imported Belgium glass 5mm thick or equivalent as approved, with plastic frame complete fixed to wall with spacers using C.P. screw 2″ long complete. | 1 | Each |
| 6 | Providing and fixing Plastic Rack/Shelf 24″ long of Master make with C.P. screws as approved by the Engineer Incharge. | 1 | Each |
| 7 | Providing and fixing 30″ x 1″ dia approved quality Chrome plated brass towel rail of Faisal make complete with brackets fixed with 1½ ″ long C.P. screws and rawal plug. | 1 | Each |
| 8 | Providing and fixing standing wall shower of CP brass 3 knobs of approved quality mixer unit and moveable shower head complete.Quality like, (Faisal/ Sonex/Magna) or equivalent. | 1 | Each |
| 9 | Providing and fixing un platisized polyvinyl chloride pipe (U.P.V.C) “D” class (Acid Proof) of "Dadex" with specials and clamps etc, including cutting and fitting complete with and including the cost of breaking through walls and roof and making good etc., after cleaning the pipe and cartage within 10 miles (16.09 km). |  |  |
|  | i) 6”dia | 40 | Rft |
|  | ii) 4”dia | 20 | Rft |
|  | iii) 3”dia | 20 | Rft |
| 10 | Providing, laying, fixing, testing and disinfecting, polypropylene pipelines for cold and hot water supply as per DIN 8077/8078 PN-20 for pipe and DIN 16962 PN-25 for fittings or equivalent BS specification Dadex, Firat (Turkey make) or formul (Turkey make) make as approved by the Engineer Incharge complete in all respects to their entire satisfaction, including specials such as tee, cross, reducer, bend, union, elbow, plug, socket, etc., supported on walls or suspended from slab or run in chases including supports, cutting and making good the same as necessary to the structure, excavation and backfilling in layers complete in all respects. |  |  |
|  | i) 25 mm o/d | 30 | Rft |
|  | ii) 32 mm o/d | 150 | Rft |
| 11 | Providing and fixing 1/2" dia C.P. bib cocks i/c c.p nipple (heavy duty) Asia/Megna/master/faisal made, as approved. | 1 | Each |
| 12 | Providing & fixing stainless steel floor trap grating (JALI) etc complete as par size. | 2 | Each |
| 13 | Providing and fixing water tank made of food grade polythylene material 500 gallon (Super tuff) i/c cost of specials and cartage up to site as per direction of Engineer imchage. | 1 | Each |
| 14 | Providing, fixing, jointing, testing and disinfecting good quality G.I. Pipes and specials i.e. Sockets, Tees, Elbows, Bends, Cross, Reducers, Clamps, Nipples, Plugs and Unions etc. including two coats of approved bitumastic paint on concealed lines and enamel paint on surface lines, for:- Water pipelines burried in trenches, under floor or suspended from slab and duct or chased in walls i/c repair of chases and ducts where required, complete.- (IILM) |  |  |
|  | i): 1″ dia (12 SWG) | 20 | Rft |
| 15 | Providing and laying RCC pipe class ‘A’ levelling, fixing in trenches, cutting, fitting and jointing i/c wrapping with hassan cloth in neat cement slurry and embedding the whole joint in minimum 4″ thick and minimum 12″ long PCC 1:4:8 all round every joint, curing, testing with water to a head of 4″ above the top of the highest point on pipe, including cartage etc. |  |  |
|  | 1): 9″ i/d | 30 | Rft |
| 16 | Providing manholes for sewers of 3' x 3' inner size up to any depth as shown on the drawing consisting of 4″ thick PCC 1:4:8 bed, first class burnt brick masonry walls set in 1:3 cement sand mortar, 1:2:4 plain cement concrete channels and benching, ½″ thick cement plaster in 1:2 cement sand mortar to all inside surface etc., including making required number of main and branch connections and providing and fixing 24″ dia meter C.I. manhole cover and frame heavy duty (Faisal/Tipu) as approved by the Engineer Incharge i/c R.C.C. 6″ thick 1:2:4 top slab and including steel reinforcement ½″ dia 6″ c/c both ways, i/c excavation and back filling complete.For depth upto 4'-0″ (from bottom of PCC 1:4:8 to top of manhole) slab/cover. | 2 | Each |
| 17 | Extra above Item, for depth in eccess of 4'-0″. | 10 | Per Inch |
| 18 | Providing and fixing approved quality stainless steel sink 33” x 18” Pak made (Atlas) complete with brass oxidized bolt kit/angle iron brackets built into walls ½” dia CP sink mixer 1-1/4” rubber plug and CP brass chain 1-1/4” CP brass waste 1-1/4” dia malleable iron or CP brass bottle trap with malleable iron or brass unions and making requisite number of holes in walls, plinth and floor for pipe connections and making good in cement concrete 1:2:4 | 1 | Each |
| 19 | Providing and fixing gun metal full way heavy duty gate valves for water, (Asia/Anwar/Bag) with wheel, threaded ends, complete as specified and as approved and replacing the old one. |  |  |
|  | i): ¾″ dia | 2 | Each |
|  | ii):1-1/4" dia | 2 | Each |

Bill No. 1.13, Title: Roofer & Water Proofer

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Provide, lay and install, including heating, curing etc. roof treatment consisting of PCC 1:2:4 (by volume) screed 4" x 1" thick (average 2½" thick) to required gradient, and in approved size panels, using Lawrancepur Sand and approved graded crushed stone (1/8" to 3/8" size) as fine and coarse aggregates respectively, one coat of approved bitumen primer at the rate of one gallon per 100 Sft as per Spces. Clause 7.6.1 i/c surface preparation of concrete screed, two coats of bitumen at the rate of 34 Lbs. per 100 Sft (total for both coats), and blinding with crush pan complete as directed. | 385 | 100 Sft |

Bill No. 1.14, Title: Sui Gas

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
|  | Note:- All work concerning Sui Gass shall be executed in accordance with contract specification and requirements of the Sui Northern Gas Company by a Sub-contractor duly approved/licensed by the Sui Northern Gas Company. All work shall be tested and a test report submitted in accordance with the requirements of Sui Company. The contractor shall also be responsible for having the work cleared/approved from the Gas Company as and where necessary. |  |  |
| 1 | Providing, laying, fixing, jointing, testing commissioning Sui Gas G.I. (Good Quality) socketed pipe and specials, on surface including all cost of supports hangers, jointing material and painting with two coats of enamel paint complete in all respect to the requirement of S.N.G.P.L. |  |  |
|  | Note:- One extra union will be fixed along with every gas cock. |  |  |
|  | i) 1" dia (10 SWG) 20 mm | 10 | Rft |
|  | ii) ¾" dia (12 SWG) 20 mm | 10 | Rft |
|  | iii) ½" dia (12 SWG) 13 mm | 10 | Rft |
| 2 | Providing and fixing gun metal full way heavy quality gas cocks, Asia/Anwar/Baig with handle, complete as specified and approved. |  |  |
|  | i) ¾" dia | 1 | Each |
|  | ii) 1" dia | 1 | Each |
| 3 | Providing and fixing gas chullah having 2 burners of M/s Uni-gas made 28" x 14" x 7" size and 6 kg weight of stain less steel, with tray, gas cock etc. complete as directed. | 1 | Each |

Bill No. 1.15, Title: Miscellaneous

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1 | Provide and fix M.S main and wicket gates (as University Main Gate) of size, shape and design as shown in drawing including anchors, hold fast, rollers, rails, stoppers, locking arrangement (from in side and outside) painting and finishing as per specifications or as directed by Engineer. | 140.00 | Sft |
| 2 | Providing and fixing 1/32" thick 4" wide and length as per door width stainless stell kick plate including stainless steel screw etc. | 12.00 | R.ft |
| 3 | Providing, fixing, testing and commissioning fancy gate light first quality/design as approved, complete with bulb 23 watt (Philips), as directed by Engineer Incharge. | 3.00 | Each |

Bill No. 2, Title: Electricity

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
|  | Note:- i) All work concerning Electricity shall be executed in accordance with the contract specification and the requirement of WAPDA by an electrical licensed Subcontractor. Upon completion, all work shall be tested and a test report submitted in accordance with the requirements/specification of WAPDA. The contractor shall also be responsible for having the work cleared/approved from WAPDA. |  |  |
|  | ii) All cables must be of M/s Pakistan, Fast, GM Cable or NEWAGE. |  |  |
| 1 | Wiring for light & fan point with (3/.029") PVC insulated wire in 20 mm2, 3/4" dia uPVC conduit recessed in the walls, coulmn,roof, including 1 mm2 single core PVC insulated wire as ECC as required. | 16 | Point |
| 2 | Wiring for sub-main with 3x 4 mm², PVC insulated wire 300/500 volts grade, single core, stranded copper conductor wire in 20 mm (3/4") dia uPVC conduit recessed in the wall, column and roof etc as required. | 150 | P/Rft |
| 3 | Wiring for sub-main with 3x 2.5 mm², PVC insulated wire 300/500 volts grade, single core, stranded copper conductor wire in 20 mm (3/4")dia uPVC conduit recessed in the wall, column and roof etc as required. | 400 | P/Rft |
| 4 | Providing and fixing 10 Amp polycarbonate flame retardent S.P switch with fancy "ivory" gang plate fixed on die fabricated, powder coated, metal board recessed in the wall or column including connection as required. (MATRIX/SOK/TJ Series/Trust make) | 27 | Each |
| 5 | Providing and fixing 10 Amp polycarbonate flame retardant 2 pin socket with fancy "ivory" gang plate fixed on die fabricated, powder coated, metal board recessed in the wall or column including connection as required. (MATRIX/SOK/TJ Series/Trust make) | 4 | Each |
| 6 | Providing & fixing 13 Amps Polycarbonate flame retardant 3-Pin switch socket unit with fancy gang plate fixed on die fabricated, powder coated metal board recessed in wall or column including connection as required. (MATRIX / SOK / TJ SERIES / TRUST / CLIPSAL make). | 5 | Each |
| 7 | Providing & fixing flush type, 15 Amps 3-Pin switch and socket combine unit (Power Plug) direct fixed on die fabricated, powder coated metal board with earth terminal recessed in wall and column including connection as required..(MATRIX / SOK / TJ SERIES / TRUST / CLIPSAL make). | 3 | Each |
| 8 | Providing and fixing polycarbonate flame retardant click type fan dimmer for all any sweep with fancy "ivory" gang plate fixed on die fabricated, powder coated, metal board recessed in the wall or column including connection as required. (MATRIX/SOK/TJ Series/Trust make) | 2 | Each |
| 9 | Providing and installing 140 Cm 56" sweep ceiling fan with blades canopy , standard length of down rod including connection with 14.0076" flexible wire complete as required ( without regulator ) Pak, Royal, GFC, Younas , Millat. | 2 | Each |
| 10 | Supply and drawing of 1.5mm2 , single core, PVC insulated wire in all kinds of existing or given conduit / cable duct as required. | 330 | P.Rft |
| 11 | Supply and drawing of 2.5mm2 , single core, PVC insulated wire in all kinds of existing or given conduit / cable duct as required. | 1505 | P.Rft |
| 12 | Providing, installation, testing and commissioning of LED batten lights including driver, having warm/Neutral White/ Cool white colour, 90-100 lm/watts efficiency, 0.9 or above power factor, 20000-25000 hours life cycle, including connection, complete in all respect a approved by the engineer in charge. (Philips, Signify, Osram,GE, Thom). | 8 | Each |
| 13 | Providing & fixing 4 core 16 mm², PVC insulated & PVC sheathed, 600/1000 volts grade with stranded copper conductor , un armoured, L.T cable fixed on surface with heavy gauge GI flat strip saddle at suitable distance as per Pak. P.W.D specification as required. | 200 | Rft |
| 14 | Providing & installing 30 Cm ( 12") sweep, Plastic body Exhaust fan complete with blades, motor, etc fixed in existing hole including connection with 14/.0076" flexible wire complete as required Pak, Royal, GFC, Younas, Millat. | 2 | Each |
| 15 | Supply & fixing 50mm (2") dia uPVC conduit with all especial such as bends, sockets, Junction etc recessed in the in the wall or floor as required. | 200 | Rft |
| 16 | Supply & fixing 40mm (1-1/2") dia uPVC conduit with all especial such as bends, sockets, Junction etc recessed in the in the wall or floor as required. | 485 | Rft |
| 17 | Supply & fixing 25mm (1") dia uPVC conduit with all especial such as bends, sockets, Junction etc recessed in the in the wall or floor as required. | 100 | Rft |
| 18 | Providing & fixing cubical type metal sheet distribution board vermin protected LT as per drawing with locking arrangement duly powder coated I/c all fastening devices and electrical wire/ leads for internal connection complete as required. | 3 | P/Sft |
| 19 | Providing & fixing pilot lamp set fitted on existing board i/c connection as required. | 1 | Set |
| 20 | Providing & fixing 100 Amps, ( Low Breaking Capacity) T.P MCCB fixed on existing board , i/c inter-connection as required. | 2 | Each |
| 21 | Providing & fixing 6 to 32 Amps, DP MCCB fixed on metal board recessed in the wall duly covered with fiber sheet, i/c inter-connection as required. | 10 | Each |
| 22 | Providing & fixing 6 to 32 Amps, S.P MCCB fixed on existing board , i/c inter-connection as required. | 15 | Each |
| 23 | Drilling of Bore in all type of soil except shingle gravel and rock i/c sinking and with drawing of casing pipe, uPVC Pipe etc. complete as required; (6"-10" dia) |  |  |
|  | a)- Ground Level to 250 Rft | 250 | Rft |
|  | b)- Exceeding 250 Rft | 50 | Rft |
| 24 | Providing & fixing Submersible pumping set (KSB, Grundfos, HMA) comprising of submersible pump with 2 HP 2850/2900 RPM, 220/230 V AC electric motor capable to discharge 500 US GPH (Gallons per Hour) of clear water at head of 280 to 350 ft, including errection clamp, cable, cable clamp, non return valve, motor control unit, complete in all respect as approved by the engineer incharge as required. | 1 | Each |

Note for Bidders - Cost estimation of above Bill of Quantities has been done using rates of Scheduled Items derived by Pakistan Public Works Department under its CSR 2022, whereas Non-scheduled Items have been costed based on Market Survey. - Soft Copy of the Bill of Quantities has been uploaded at the website of the University (www.aiou.edu.pk) which the bidders may download for their ease.

Technical Proposal

- Site Organization

- Method Statement

- Mobilization Schedule

- Construction Schedule

- Equipment

Site Organization

Method Statement

Mobilization Schedule

In accordance with the Particular Conditions, Sub-Clause 4.1, the Contractor shall not carry out mobilization to Site unless the Engineer gives consent.

Construction Schedule

Form EQU: Equipment

The Bidder shall provide adequate information to demonstrate clearly that it has the capability to meet the requirements for the key equipment listed in Section V, Evaluation and Qualification Criteria. A separate Form shall be prepared for each item of equipment listed, or for alternative equipment proposed by the Bidder.

| Item of equipment |  |  |
| --- | --- | --- |
| Equipment information | Name of manufacturer | Model and power rating |
|  | Capacity | Year of manufacture |
| Current status | Current location |  |
|  | Details of current commitments |  |
| Source | Indicate source of the equipment o Owned o Rented o Leased o Specially manufactured |  |

Omit the following information for equipment owned by the Bidder.

| Owner | Name of owner |  |
| --- | --- | --- |
|  | Address of owner |  |
|  | Telephone | Contact name and title |
|  | Fax | Telex |
| Agreements | Details of rental / lease / manufacture agreements specific to the project |  |

SECTION VII

STANDARD BIDDING FORMS

# Section VII: Standard Bidding Forms

Table of Forms

Letter of Bid – Technical Proposal	85

Letter of Bid - Financial Proposal	87

FORM ELI 1	90

Bidder Information Form	90

ELI2	91

Bidder’s JV Members Information Form	91

Financial Situation	98

EXPERIENCE	105

Form of Bid Security	110

Priced Bill of Quantities	112

Schedule of Adjustment Data	114

Form of Affidavit	115

Beneficial Ownership Disclosure Form	117

Letter of Bid – Technical Proposal

INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE DOCUMENT Place this Letter of Bid in the first envelope “TECHNICAL PROPOSAL”. The Bidder must prepare the Letter of Bid on stationery with its letterhead clearly showing the Bidder’s complete name and business address. Note: All italicized text in black font is to help Bidders in preparing this form and Bidders shall delete it from the final document.

Date of this Bid submission: [insert date (as day, month and year) of Bid submission]

IFB No.: [insert number of Bidding process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To: [insert complete name of Employer]

We, the undersigned Bidder, hereby submit the first part of our Bid, the Technical Proposal

In submitting our Bid we make the following declarations:

- No reservations: We have examined and have no reservations to the bidding document, including addenda issued in accordance with Instructions to Bidders (ITB 9);

- Eligibility: We meet the eligibility requirements and have no conflict of interest in accordance with ITB 3;

- Bid/Proposal-Securing Declaration: We have not been suspended nor declared ineligible by the Employer based on execution of a Bid Securing Declaration or Bid Securing Declaration in the Employer’s country in accordance with ITB 3;

- Conformity: We offer to execute works in conformity with the bidding document and in accordance with the works requirements: [insert a brief description of the WORKS];

- Bid Validity Period: Our Bid shall be valid for the period specified in BDS 18.1 (as amended, if applicable) from the date fixed for the Bid submission deadline specified in BDS 24.1 (as amended, if applicable), and it shall remain binding upon us, and may be accepted at any time before the expiration of that period;

- Performance Security: If our Bid is accepted, we commit to obtain a performance security in accordance with the bidding document;

- One Bid per Bidder: We are not submitting any other Bid(s) as an individual Bidder, and we are not participating in any other bid(s) as a Joint Venture member or as a subcontractor, and meet the requirements, other than Alternative Bids submitted in accordance with ITB 20;

- Suspension and Debarment: We, along with any of our subcontractors, suppliers, consultants, manufacturers, or service providers for any part of the contract, are not subject to, and not controlled by any entity or individual that is subject to, a temporary suspension or a debarment imposed by the Employer. Further, we are not ineligible under Pakistan laws;

- State-owned enterprise or institution: [select the appropriate option and delete the other] [We are not a state-owned enterprise or institution] / [We are a state-owned enterprise or institution ];

- Binding Contract: We understand that this Bid, together with your written acceptance thereof included in your Letter of Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed;

- Not Bound to Accept: We understand that you are not bound to accept the Most Advantageous Bid or any other Bid that you may receive; and

- Fraud and Corruption: We hereby certify that we have taken steps to ensure that no person acting for us, or on our behalf, engages in any type of Fraud and Corruption.

Name of the Bidder: *[insert complete name of Bidder]

Country of Origin of the Bidder: [insert country of origin, in case of JV country of origin of lead member]

Name of the person duly authorized to sign the Bid on behalf of the Bidder: ** [insert complete name of person duly authorized to sign the Bid]

Title of the person signing the Bid: [insert complete title of the person signing the Bid]

Signature of the person named above: [insert signature of person whose name and capacity are shown above]

Date signed [insert date of signing] day of [insert month], [insert year]

*: In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder.

**: Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.

Letter of Bid - Financial Proposal

INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE DOCUMENT Place this Letter of Bid - Financial Proposal in the second envelope marked “FINANCIAL PROPOSAL”. The Bidder must prepare the Letter of Bid - Financial Proposal on stationery with its letterhead clearly showing the Bidder’s complete name and business address. Note: All italicized text is to help Bidders in preparing this form.

Date of this Bid submission: [insert date (as day, month and year) of Bid submission]

Invitation for Bid No.: [insert number of bidding process]

Name of Project.: [insert identification]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To: [insert complete name of Employer]

We, the undersigned Bidder, hereby submit the second part of our Bid, the Financial Proposal

In submitting our Financial Proposal we make the following additional declarations:

- Bid Validity Period: Our Bid shall be valid for the period specified in BDS 18.1 (as amended, if applicable) from the date fixed for the bid submission deadline specified in BDS 24.1 (as amended, if applicable), and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- Total Price: The total price of our Bid is:

In case of only one lot, the total price of the Bid is [insert the total price of the bid in words and figures, indicating the various amounts and the respective currencies];

In case of multiple lots, the total price of each lot is [insert the total price of each lot in words and figures, indicating the various amounts and the respective currencies];

In case of multiple lots, total price of all lots (sum of all lots) [insert the total price of all lots in words and figures, indicating the various amounts and the respective currencies];

- Commissions, gratuities and fees: We have paid, or will pay the following commissions, gratuities, or fees with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, its full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity].

| Name of Recipient | Address | Reason | Amount |
| --- | --- | --- | --- |

(If none has been paid or is to be paid, indicate “none.”)

- Binding Contract: We understand that this Bid, together with your written acceptance thereof included in your Letter of Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed.

Name of the Bidder:*[insert complete name of the Bidder]

Name of the person duly authorized to sign the Bid on behalf of the Bidder: ** [insert complete name of person duly authorized to sign the Bid]

Title of the person signing the Bid: [insert complete title of the person signing the Bid]

Signature of the person named above: [insert signature of person whose name and capacity are shown above]

Date signed [insert date of signing] day of [insert month], [insert year]

*: In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder.

**: Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.

Bidder’s Qualification

To establish its qualifications to perform the contract in accordance with Section V (Evaluation and Qualification Criteria) the Bidder shall provide the information requested in the corresponding Information Sheets/Forms included hereunder

The information provided in the Forms shall be substantiated with valid documentary evidence otherwise the requirement will not be considered as complied.

FORM ELI 1

Bidder Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid submission]

IFB No.: [insert number of Bidding process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

Page ________ of_ ______ pages

1. Bidder’s Name [insert Bidder’s legal name]

2. In case of JV, legal name of each member : [insert legal name of each member in JV]

3. Bidder’s actual or intended country of registration: [insert actual or intended country of registration]

4. Bidder’s year of registration: [insert Bidder’s year of registration]

5. Bidder’s Address in country of registration: [insert Bidder’s legal address in country of registration]

6. Bidder’s Authorized Representative Information Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address]

7. Attached are copies of original documents of [check the box(es) of the attached original documents] Articles of Incorporation (or equivalent documents of constitution or association), and/or documents of registration of the legal entity named above. In case of JV, JV agreement, in accordance with ITB 3.3. Establishing that the Bidder is not under the supervision of the Employer[ in case of subsidiaries] 8. Included are the organizational chart, a list of Board of Directors, and the beneficial ownership.

ELI2

Bidder’s JV Members Information Form

[Not Applicable]

[The Bidder shall fill in this Form in accordance with the instructions indicated below. The following table shall be filled in for the Bidder and for each member of a Joint Venture].

Date: [insert date (as day, month and year) of Bid submission]

IFB No.: [insert number of IFB process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

Page ________ of_ ______ pages

1. Bidder’s Name: [insert Bidder’s legal name]

2. Bidder’s JV Member’s name: [insert JV’s Member legal name]

3. Bidder’s JV Member’s country of registration: [insert JV’s Member country of registration]

4. Bidder’s JV Member’s year of registration: [insert JV’s Member year of registration]

5. Bidder’s JV Member’s legal address in country of registration: [insert JV’s Member legal address in country of registration]

6. Bidder’s JV Member’s authorized representative information Name: [insert name of JV’s Member authorized representative] Address: [insert address of JV’s Member authorized representative] Telephone/Fax numbers: [insert telephone/fax numbers of JV’s Member authorized representative] Email Address: [insert email address of JV’s Member authorized representative]

7. Attached are copies of original documents of [check the box(es) of the attached original documents] Articles of Incorporation (or equivalent documents of constitution or association), and/or registration documents of the legal entity named above. 8. Included are the organizational chart, a list of Board of Directors, and the beneficial ownership.

Personnel

Form PER -1

Contractor’s Representative and Key Personnel

Schedule

Bidders should provide the names and details of the suitably qualified Contractor’s Representative and Key Personnel to perform the Contract. The data on their experience should be supplied using the Form PER-2 below for each candidate.

Contractor’ Representative and Key Personnel

| 1. | Title of position: |  |
| --- | --- | --- |
|  | Name of candidate: |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 2. | Title of position: |  |
|  | Name of candidate: |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 3. | Title of position: |  |
|  | Name of candidate: |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 4. | Title of position: |  |
|  | Name of candidate: |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 5. | Title of position: |  |
|  | Name of candidate |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 6. | Title of position: [insert title] |  |
|  | Name of candidate |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |

Form PER-2:

Resume and Declaration

Contractor’s Representative and Key Personnel

Name of Bidder

| Position [#1]: [title of position from Form PER-1] |  |  |
| --- | --- | --- |
| Personnel information | Name: | Date of birth: |
|  | Address: | E-mail: |
|  | Professional qualifications: |  |
|  | Academic qualifications: |  |
|  | Language proficiency:[language and levels of speaking, reading and writing skills] |  |
| details |  |  |
|  | Address of Employer: |  |
|  | Telephone: | Contact (manager / personnel officer): |
|  | Fax: |  |
|  | Job title: | Years with present Employer: |

Summarize professional experience in reverse chronological order. Indicate particular technical and managerial experience relevant to the project.

| Project | Role | Duration of involvement | Relevant experience |
| --- | --- | --- | --- |
| [main project details] | [role and responsibilities on the project] | [time in role] | [describe the experience relevant to this position] |

Declaration

I, the undersigned [ insert either “Contractor’s Representative” or “Key Personnel” as applicable] , certify that to the best of my knowledge and belief, the information contained in this Form PER-2 correctly describes myself, my qualifications and my experience.

I confirm that I am available as certified in the following table and throughout the expected time schedule for this position as provided in the Bid:

| Commitment | Details |
| --- | --- |
| Commitment to duration of contract: | [insert period (start and end dates) for which this Contractor’s Representative or Key Personnel is available to work on this contract] |
| Time commitment: | [insert period (start and end dates) for which this Contractor’s Representative or Key Personnel is available to work on this contract] |

I understand that any misrepresentation or omission in this Form may:

- be taken into consideration during Bid evaluation;

- result in my disqualification from participating in the Bid;

- result in my dismissal from the contract.

Name of Contractor’s Representative or Key Personnel: [insert name]				Signature: __________________________________________________________

Date: (day month year): _______________________________________________

Countersignature of authorized representative of the Bidder:

Signature: ________________________________________________________

Date: (day month year): ____________________________
Form CON – 2

Historical Contract Non-Performance, Pending Litigation and Litigation History

Bidder’s Name: ________________
Date: ______________________
JV Member Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

| Non-Performed Contracts in accordance with Qualification Criteria |  |  |  |
| --- | --- | --- | --- |
| Contract non-performance did not occur January [insert year] Contract(s) not performed since [insert year] |  |  |  |
| Year | Non- performed portion of contract | Contract Identification | Total Contract Amount (current value, currency, exchange rate and PKR equivalent) |
|  |  | Contract Identification: Name of Employer(PA): Address of PA: Reason(s) for nonperformance: |  |
| Pending Litigation, in accordance with Qualification Criteria |  |  |  |
| No pending litigation |  |  |  |
| Pending litigation |  |  |  |

| Year of dispute | Amount in dispute (currency) | Contract Identification | Total Contract Amount |
| --- | --- | --- | --- |
|  |  | Contract Identification: _________ Name of PA: ____________ Address of PA: __________ Matter in dispute: ______________ Party who initiated the dispute: ____ Status of dispute: ___________ |  |
| Litigation History in accordance with Section V, Evaluation and Qualification Criteria of the Prequalification document |  |  |  |
|  No Litigation History  Litigation History |  |  |  |
| Year of award | Outcome as percentage of Net Worth | Contract Identification | Total Contract Amount (currency), PKR Equivalent (exchange rate) |
| [insert year] | [insert percentage] | Contract Identification: [indicate complete contract name, number, and any other identification] Name of PA: [insert full name] Address of PA: [insert street/city/country] Matter in dispute: [indicate main issues in dispute] Party who initiated the dispute: [indicate “Employer” or “Contractor”] Reason(s) for Litigation and award decision [indicate main reason(s)] | [insert amount] |

Financial Situation

Form FIN – 3.1:

Financial Situation and Performance

Bidder’s Name: ________________
Date: ______________________
JV Member’s Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

1. Financial data

| Type of Financial information in (currency) | Historic information for previous _________years, ______________ (amount in currency, currency, exchange rate*, PKR equivalent) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Year 1 | Year 2 | Year 3 | Year4 | Year 5 |
| Statement of Financial Position (Information from Balance Sheet) |  |  |  |  |  |
| Total Assets (TA) |  |  |  |  |  |
| Total Liabilities (TL) |  |  |  |  |  |
| Total Equity/Net Worth (NW) |  |  |  |  |  |
| Current Assets (CA) |  |  |  |  |  |
| Current Liabilities (CL) |  |  |  |  |  |
| Working Capital (WC) |  |  |  |  |  |
| Information from Income Statement |  |  |  |  |  |
| Total Revenue (TR) |  |  |  |  |  |
| Profits Before Taxes (PBT) |  |  |  |  |  |
| Cash Flow Information |  |  |  |  |  |
| Cash Flow from Operating Activities |  |  |  |  |  |

*Exchange rate used for calculations should be two days prior to the bids submission.

2. Sources of Finance

Specify sources of finance to meet the cash flow requirements on works currently in progress and for future contract commitments.

| No. | Source of finance | Amount (PKR) |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |

2. Financial documents

The Bidder and its parties shall provide copies of financial statements for ___________years pursuant to Evaluation and Qualifications Criteria, Sub-factor 3.1. The financial statements shall:

(a) 	reflect the financial situation of the Bidder or in case of JV member, and not an affiliated entity  (such as parent company or group member).

(b)	be independently audited or certified in accordance with local legislation.

(c)	be complete, including all notes to the financial statements.

(d)	correspond to accounting periods already completed and audited.

Attached are copies of financial statements  for the ____________years required above; and complying with the requirements

Form FIN – 3.2:

Average Annual Construction Turnover

Bidder’s Name: ________________
Date: ______________________
JV Member’s Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

|  |  | Annual turnover data (construction only) |  |  |
| --- | --- | --- | --- | --- |
| Year | Amount Currency |  | Exchange rate ** | PKR equivalent |
| [indicate year] | [insert amount and indicate currency] |  |  |  |
| Average Annual Construction Turnover * |  |  |  |  |

* See Section V, Evaluation and Qualification Criteria.

* * Exchange rate used for calculations should be two days prior to the bids submission

Form FIN – 3.3:

Financial Resources

Specify proposed sources of financing, such as liquid assets, unencumbered real assets, lines of credit, and other financial means, net of current commitments, available to meet the total construction cash flow demands of the subject contract or contracts as specified in Section – V (Evaluation and Qualification Criteria)

| Financial Resources |  |  |
| --- | --- | --- |
| No. | Source of financing | Amount |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |

Form FIN – 3.4:

Current Contract Commitments / Works in Progress

Bidders and each member to a JV should provide information on their current commitments on all contracts that have been awarded, or for which a letter of intent or acceptance has been received, or for contracts approaching completion, but for which an unqualified, full completion certificate has yet to be issued.

##### Current Contract Commitments

| No. | Name of Contract | Employer’s Contact Address, Tel, Fax | Value of Outstanding Work [PKR Equivalent] | Estimated Completion Date | Average Monthly Invoicing Over Last Six Months [PKR/month)] |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |

Form FIN - 5:

Self-Assessment Tool for Bidder’s Compliance to Financial Resources (Criterion 2.1 of Section V)

This form requires the same information submitted in Forms FIN – 3.3 and FIN -3.4. All conditions of “Available Financial Resources Net of CCC ≥ Requirement for the Subject Contract” must be satisfied to qualify.

Form FIN - 5A: For Single Entities

| For Single Entities: (A) | Total Available Financial Resources from FIN – 3.3 (B) | Total Monthly Financial Requirement for Current Contract Commitments (CCC) from FIN – 3.4 (C) | Available Financial Resources Net of CCC D = (B - C) | Requirement for the Subject Contract (E) | Results: Yes or No [D must be greater than or equal to E] (F) |
| --- | --- | --- | --- | --- | --- |
| _________ (Name of Bidder) |  |  |  | . . . . . . . . . . ._ |  |

Form FIN - 5B: For Joint Ventures

| For Joint Ventures: (A) | Total Available Financial Resources from FIN – 3.3 (B) | Total Monthly Financial Requirement for Current Contract Commitments (CCC) from FIN – 3.4 (C) | Available Financial Resources Net of CCC D = (B - C) | Requirement for the Subject Contract (E) | Results: Yes or No [D must be greater than or equal to E] (F) |
| --- | --- | --- | --- | --- | --- |
| One Partner: |  |  |  |  |  |
| ____________ (Name of Partner) |  |  |  | . . . . . . . . . . . |  |
| Each Partner: |  |  |  |  |  |
| _____________ (Name of Partner 1) |  |  |  | . . . . . . . . . . . |  |
| _____________ (Name of Partner 2) |  |  |  | . . . . . . . . . . . |  |
| _____________ (Name of Partner 3) |  |  |  | . . . . . . . . . . . |  |
| All partners combined | ∑ D = Sum of available financial resources net of current contract commitments for all partners |  | ∑ D = _______ | . . . . . . . . . . . |  |

- Note -

Form FIN – 5 is made available for use by the bidder as a self-assessment tool, and by the employer as an evaluation work sheet, to determine compliance with the financial resources requirement as stated in 3.1 (ii). Failure to submit Form FIN - 5 by the Bidder shall not lead to bid rejection.

EXPERIENCE

Form EXP - 4.1

General Construction Experience

Bidder’s Name: ________________
Date: ______________________
JV Member’s Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

| Starting Year | Ending Year | Contract Identification | Role of Bidder |
| --- | --- | --- | --- |
|  |  | Contract name: ____________________ Brief Description of the Works performed by the Bidder: _____________________________ Amount of contract: ___________________ Name of PA: ____________________ Address: _____________________________ |  |
|  |  | Contract name: _________________________ Brief Description of the Works performed by the Bidder: _____________________________ Amount of contract: ___________________ Name of PA: ___________________ Address: _________________________ |  |
|  |  | Contract name: ________________________ Brief Description of the Works performed by the Bidder: __________________________ Amount of contract: ___________________ Name of PA: ___________________ Address: _________________________ |  |

Form EXP - 4.2(a)

Specific Construction and Contract Management Experience

Bidder’s Name: ________________
Date: ______________________
JV Member’s Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

| Similar Contract No. | Information |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contract Identification |  |  |  |  |  |
| Award date |  |  |  |  |  |
| Completion date |  |  |  |  |  |
| Role in Contract | Prime Contractor |  | Member in JV | Management Contractor | Sub-contractor |
| Total Contract Amount |  |  |  | PKR equivalent |  |
| If member in a JV or sub-contractor, specify participation in total Contract amount |  |  |  |  |  |
| PA’s Name: |  |  |  |  |  |
| Address: Telephone/fax number E-mail: |  |  |  |  |  |

Form EXP - 4.2(a) (cont.)

Specific Construction and Contract Management Experience (cont.)

| Similar Contract No. | Information |
| --- | --- |
| Description of the similarity in accordance with Sub-Factor 4.2(a) of Section V: |  |
| 1. Amount |  |
| 2. Physical size of required works items |  |
| 3. Complexity |  |
| 4. Methods/Technology |  |
| 5. Construction rate for key activities |  |
| 6. Other Characteristics |  |

Form EXP - 4.2(b)

Construction Experience in Key Activities

Bidder's Name: ________________
Date: ___________________
Bidder's JV Member Name: __________________
Sub-contractor's Name (as per ITB 34.2 and 34.3): ________________
IFB No. and title: _____________________

Page __________________of ________________pages

All Sub-contractors for key activities must complete the information in this form as per ITB 38 and Qualification Criteria and Requirements, Sub-Factor 4.2.

1.	Key Activity No One: ________________________

|  | Information |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contract Identification |  |  |  |  |  |
| Award date |  |  |  |  |  |
| Completion date |  |  |  |  |  |
| Role in Contract | Prime Contractor | Member in JV |  | Management Contractor | Sub-contractor |
| Total Contract Amount |  |  |  | PKR equivalent |  |
| Quantity (Volume, number or rate of production, as applicable) performed under the contract per year or part of the year | Total quantity in the contract (i) |  | Percentage participation (ii) |  | Actual Quantity Performed (i) x (ii) |
| Year 1 |  |  |  |  |  |
| Year 2 |  |  |  |  |  |
| Year 3 |  |  |  |  |  |
| Year 4 |  |  |  |  |  |
| PA’s Name: |  |  |  |  |  |  |
| Address: Telephone/fax number E-mail: |  |  |  |  |  |  |

2. Activity No. Two

3. …………………

|  | Information |
| --- | --- |
| Description of the key activities in accordance with Section V: |  |

Form of Bid Security

(Bank Guarantee)

[The bank shall fill in this Bank Guarantee Form in accordance with the instructions indicated.]

[Guarantor letterhead or SWIFT identifier code]

Beneficiary: [Purchaser to insert its name and address]

No.: [Purchaser to insert reference number for the Request for Bids]

Alternative No.: [Insert identification No if this is a Bid for an alternative]

Date: [Insert date of issue]

BID GUARANTEE No.: [Insert guarantee reference number]

Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]

We have been informed that ______ [insert name of the Bidder, which in the case of a joint venture shall be the name of the joint venture (whether legally constituted or prospective) or the names of all members thereof] (hereinafter called "the Applicant") has submitted or will submit to the Beneficiary its Bid (hereinafter called "the Bid") for the execution of ________________ under Invitation for Bids No. __________ _ (“the IFB”).

Furthermore, we understand that, according to the Beneficiary’s conditions, Bids must be supported by a Bid guarantee.

At the request of the Applicant, we, as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of ___________ (____________) upon receipt by us of the Beneficiary’s complying demand, supported by the Beneficiary’s statement, whether in the demand itself or a separate signed document accompanying or identifying the demand, stating that either the Applicant:

(a) 	has withdrawn its Bid during the period of Bid validity set forth in the Applicant’s Letter of Bid (“the Bid Validity Period”), or any extension thereto provided by the Applicant; or

(b) 	having been notified of the acceptance of its Bid by the Beneficiary during the Bid Validity Period or any extension thereto provided by the Applicant, (i) has failed to sign the contract agreement, or (ii) has failed to furnish the performance security, in accordance with the Instructions to Bidders (“ITB”) of the Beneficiary’s bidding document.

This guarantee will expire: (a) if the Applicant is the successful Bidder, upon our receipt of copies of the Contract agreement signed by the Applicant and the performance security issued to the Beneficiary in relation to such Contract agreement; or (b) if the Applicant is not the successful Bidder, upon the earlier of (i) our receipt of a copy of the Beneficiary’s notification to the Applicant of the results of the Bidding process; or (ii) twenty-eight days after the end of the Bid Validity Period.

Consequently, any demand for payment under this guarantee must be received by us at the office indicated above on or before that date.

_____________________________

[Signature(s)]

Note: All italicized text is for use in preparing this form and shall be deleted from the final product.

Priced Bill of Quantities

[to be printed on letterhead of the bidder]

We confirm that the rates and prices bid in the priced Bill of Quantities, except insofar as it is otherwise provided under the Contract, include all Constructional Plant, labour, supervision, materials, erection, maintenance, insurance, profit, taxes (including GST/PRA), and duties, together with all general risks, liabilities, and obligations set out or implied in the Contract.

A rate or price is entered against each item in the priced Bill of Quantities, whether quantities are stated or not.  The cost of Items against which we have failed to enter a rate, or price shall be deemed to be covered by other rates and prices entered in the Bill of Quantities. Moreover, we confirm, warrant and agree that the Employer shall be at liberty, if we have missed filling the cost/rate against any number of item or component in the bill of quantities, to adjust the overall cost of the bid based on the average price of the item or component as quoted in other substantially responsive Bids. If the price of the item or component cannot be derived from the price of other substantially responsive Bids, the Employer shall use its best estimate.

SUMMARY OF COST

| Bill # | Description | Cost (Pak. Rs.) |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
|  | Sub-Total = |  |
|  | Cost of GST/PRA = |  |
|  | Grand Total = |  |

SUMMARY OF COST

| Bill # | Description | Cost (Pak. Rs.) |
| --- | --- | --- |
| 1.1 |  |  |
| 1.2 |  |  |
| 1.3 |  |  |
| 1.4 |  |  |
| 1.5 |  |  |
|  | Total = |  |

Bill No. 1.1 Title: xx

| Item. # | Ref. | Description | Unit of Measurement | Quantity | Unit Rate (Pak. Rs.) | Total Amount (Pak. Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| Total = |  |  |  |  |  |  |

Bill No. 1.2 Title: xx

| Item. # | Ref. | Description | Unit of Measurement | Quantity | Unit Rate (Pak. Rs.) | Total Amount (Pak. Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| Total = |  |  |  |  |  |  |

Bill No. 1.3 Title: xx

| Item. # | Ref. | Description | Unit of Measurement | Quantity | Unit Rate (Pak. Rs.) | Total Amount (Pak. Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| Total = |  |  |  |  |  |  |

Schedule of Adjustment Data

(Not Applicable)

| Element Number | Element Description | Bidder’s Amount [PKR] | Bidder’s Proposed Weighting for Coefficients* |
| --- | --- | --- | --- |

| i. ii. iii. iv. v. vi. vii viii ix | Non-adjustable Cement (OPC) Steel (M.S. bars [deformed, 40/60 grade] High Speed Diesel Labour (Un-skilled/skilled) HDPE/PVC Pipe RCC Pipe Bricks Crush |  | a: (0.2) b: ( ) c: ( ) d: ( ) e: ( ) f: ( ) g: ( ) h: ( ) i: ( ) |
| --- | --- | --- | --- |
| Total |  |  | 1.00 |

* The Bidder shall enter a value within the range such that the total weighting shall be equal to 1.00.

The base and current rates of each cost element shall be taken from the Federal Bureau of Statistics (FBS), Statistical Division Government of Pakistan, Statutory notifications and official price from public sector organizations, where available, for Price Variation Adjustment for the area(s) prescribed in the list, nearest to the location of the Works. Whereas the source for prices of High Speed Diesel (HSD) shall be either Statistical Bulletins or Pakistan State Oil (PSO) or Oil and Gas Regulatory Authority (OGRA). The base values shall be 28 days prior to the submission of Bid.

Note:

- Cement (OPC) [Bags] shall represent all kinds of Cement.

- Steel (M.S. bars deformed, 40/60 grade) shall represent all kinds of steel reinforcing bars and structural steel and all kind of MS angle/sheet and sections.

- High Speed Diesel [Litre] shall represent all kinds of fuels and lubricants.

- Labour (Un-skilled/skilled) shall represent all kinds of labour.

- HDPE/PVC pipe shall represent all kind of pressure (PN)/class and size of pipes

- RCC pipes shall represent all kinds/class and size of pipes

- Bricks shall represent all kind of bricks, bricks ballast and bricks tiles

- Crush shall represent all size and grade of crush.

Form of Affidavit

[This must be printed on judicial/stamp paper having worth of at least Pak. Rs. 100/-. The judicial/stamp paper must be a registered paper with the respective vendor, having necessary entries on it and must also be Notarized. This Affidavit must be signed by the authorized representative of the bidder whose respective authorization is already confirmed as part of the Bid]

Affidavit of:	 [name of authorized representative of the bidder], having CNIC # [enter number], as [mention the designation of authorized representative] on behalf of [name of the bidder], [complete official address]

I, the above-named deponent, do hereby solemnly state on oath that I am an authorized representative of [name of the bidder] and, hereby on behalf of [name of the bidder] declare, agree, understand, warrant and undertake that:

- [name of the bidder] intends to submit a Bid for contraction works & related services, viz., [brief description of works and services] in complete understanding of the bidding document for the said procurement, issued by the Allama Iqbal Open University,

- [name of the bidder] has not been blacklisted or debarred by any federal or provincial or regional Public Procurement Regulatory Authority and/or government ministry/ department/public sector organization, international financial institutions/donors [such as World Bank, Asian Development Bank etc.],

- [name of the bidder] is not engaged in any legal proceedings with and/or against any federal or provincial or regional Public Procurement Regulatory Authority and/or government ministry/department/public sector organization including Allama Iqbal Open University, international financial institutions/donors [such as World Bank, Asian Development Bank etc.]

- [name of the bidder] has no direct and/or indirect conflict of interest with any person, employee, staff and any member of the Procurement Evaluation Committee(s) of the Allama Iqbal Open University and/or the procurement activity for which [name of the bidder] is submitting bid,

- [name of the bidder] is submitting his bid conscious of market inflation and foreign currency exchange rates risks and shall comply with the offered rates during bid validity period, and if awarded a contract shall honour the offered rates without indulging into any argument and/or asking for price adjustment, thus bearing all the related risks,

- [name of the bidder] irrevocably and unconditionally undertake and warrant that in case [name of the bidder] defaults in honouring his offered/committed rates before or after, signing of contract agreement and/or supply order, the University shall be at liberty to forfeit the earnest money and/or  performance security and/or take any punitive action including blacklisting for desired period, and [name of the bidder] shall not challenge that decision in any court of law,

- [name of the bidder] accepts full responsibility and strict liability for making any false declaration, not making full disclosure, misrepresenting facts or taking any action likely to defeat the purpose of this declaration, representation and warranty.

DEPONENT

Verification:

Verified on oath at Islamabad on this -- day of the month of -------------- of 20-- that the contents of the foregoing Affidavit are true and correct to the best of my knowledge and belief and that nothing thereof has been concealed from Allama Iqbal Open University.

DEPONENT

INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE FORM

This Beneficial Ownership Disclosure Form (“Form”) is to be completed by the successful Bidder.  In case of joint venture, the Bidder must submit a separate Form for each member.  The beneficial ownership information to be submitted in this Form shall be current as of the date of its submission.

For the purposes of this Form, a Beneficial Owner of a Bidder is any natural person who ultimately owns or controls the Bidder by meeting one or more of the following conditions:

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder

Beneficial Ownership Disclosure Form

IFB No.: [insert number of IFB process]

Invitation for Bid Title: [insert identification]

To: [insert complete name of Employer]

In response to your request in the Letter of Acceptance dated [insert date of letter of Acceptance] to furnish additional information on beneficial ownership: [select one option as applicable and delete the options that are not applicable]

(i) we hereby provide the following beneficial ownership information.

Details of beneficial ownership

| Identity of Beneficial Owner | Directly or indirectly holding 25% or more of the shares (Yes / No) | Directly or indirectly holding 25 % or more of the Voting Rights (Yes / No) | Directly or indirectly having the right to appoint a majority of the board of the directors or an equivalent governing body of the Bidder (Yes / No) |
| --- | --- | --- | --- |
| [include full name (last, middle, first), nationality, country of residence] |  |  |  |

OR

(ii) We declare that there is no Beneficial Owner meeting one or more of the following conditions:

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder

OR

(iii) We declare that we are unable to identify any Beneficial Owner meeting one or more of the following conditions. [If this option is selected, the Bidder shall provide explanation on why it is unable to identify any Beneficial Owner]

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder]”

Name of the Bidder:*[insert complete name of the Bidder]_________

Name of the person duly authorized to sign the Bid on behalf of the Bidder:**[insert complete name of person duly authorized to sign the Bid]___________

Title of the person signing the Bid: [insert complete title of the person signing the Bid]______

Signature of the person named above: [insert signature of person whose name and capacity are shown above]_____

Date signed [insert date of signing] day of [insert month], [insert year]____

* In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder. In the event that the Bidder is a joint venture, each reference to “Bidder” in the Beneficial Ownership Disclosure Form (including this Introduction thereto) shall be read to refer to the joint venture member.

** Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.

If applicable