SECTION VI

WORKS REQUIREMENT, TECHNICAL SPECIFICATIONS, DRAWINGS/LAYOUTS, SUPPLEMENTARY INFORMATION AND BILL OF QUANTITIES

# Section IV. Works Requirement, Technical Provisions, Drawings/layouts, Supplementary Information & Bill of Quantities

## Scope of Works

The scope of work includes:

      - Construction of 02 Nos check post.

      - Construction of 02 No's Washrooms. (Security section)

      - Installation of Canopy Shed for colony Gate.

      - Repairing of Existing Fiber glass Canopies. (Gate #1,2)

      - Making of Concrete speed Breaker.

      - Provision & Repairing of Barbed wire.

      - Provision of Soakage pit.

      - Closing of main Boundary wall grill openings.

      - Concreting & other Allied Repair works.

## Technical Specifications

Technical Specifications are attached in Annex A at the end of this document.

Bill of Quantities

SUMMARY

| Bill # | Description |
| --- | --- |
| 1 | Civil Works |
| 2 | Electricity |

Bill No. 1, Title: Civil Works

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 1.1 | Structural excavation for foundations and basement in any type of soil including stone or gravel, up to required depths including back filling in trenches and under floors/pavements with approved excavated material, in layers including watering, ramming compacting, leveling & dressing etc., as per specification and disposal of surplus excavated material within or outside the project limits, including all lift and lead etc., complete as directed. | 6000.00 | 100 Cft |
| 1.2 | Excavation for wells, circular underground tanks and soak pits etc., in gravelly soil and back filling the excavated material all-round the trenches including breaking clods, watering, consolidation by ramming in layers not exceeding 9 inches (229 mm) depth to full compaction, dressing and disposal of surplus excavated stuff as directed, lead up to one chain (30.5 R.M) and lift up to 5 feet (1.52 m). | 200.00 | 100 Cft |
| 1.3 | Provide, mix, lay compact, level, finish, cure etc. lean concrete 1:4:8 using 1", 1/2", 3/4" (pure)down crush (Ref. Specs. Clause 2.2.8) including formwork and its removal, complete in all respects. | 500.00 | 100 Cft |
| 1.4 | Provide, fill, compact, level, cure etc. 1:2:4 mass concrete in raise Floor. | 100.00 | 100 Sft |
| 1.5 | Provide, clean, cut, bend, place, in position, bind etc., steel reinforcement bars including cost of binding wire, spacer blocks, steel chars/pins, wastage and the overlaps not shown in drawings, complete in all respects: Round deformed steel bars of 40,000 PSI yield strength (intermediate grade). | 2000.00 | Kg |
| 1.6 | Providing and laying reinforced cement concrete using crushed graded boulders 3/4 inch (19 mm) and down gauge in place of screened graded bajri in any item of RCC of mix not leaner than 1:2:4 crushing strength of works cube in this case will be 3000 Ibs per sq. inch (20.69 N/mm2 at 28 days) including form work and its removal, compacting and curing etc. complete but excluding the cost of reinforcement, in basement and ground floor. |  |  |
|  | Columns Footing | 100.00 | 100 Cft |
|  | Plinth Beam | 120.00 | 100 Cft |
|  | Straight Beam, Lintel LG/GF | 100.00 | 100 Cft |
|  | Suspended Slab (5" to 6") |  |  |
|  | Ground Floor | 675.00 | 100 Cft |
|  | First Floor | 50.00 | 100 Cft |
| 1.7 | Columns up to plinth level column concrete ditto as above but of 3850 PSI 28 days cylindrical strength having the nominal mix proportions not leaner than (1: 1-1/2:3). |  |  |
|  | Up to Plinth Level | 35.00 | 100 Cft |
|  | Ground Floor | 90.00 | 100 Cft |
| 1.8 | Provide, lay, cure etc. first class burnt brickwork in foundation and plinth, 9” and over thick, set in 1:5 cement sand mortar, complete. | 100.00 | 100 Cft |
| 1.9 | Provide, lay, cure etc. first class burnt brickwork in walls in superstructure, including form work etc. complete: - |  |  |
|  | i): 9" and over thick, set in 1:6 cement sand mortar |  |  |
|  | a) LGF/Ground Floor | 3171 | 100 Cft |
|  | b) First Floor | 100 | 100 Cft |
|  | ii): 4-1/2" thick, set in 1:4 cement sand mortar: |  |  |
|  | a) LGF/Ground Floor | 20 | 100 Cft |
|  | b) First Floor | 108 | 100 Cft |
| 1.10 | Provide, apply, finish smooth, cure, etc. ½" thick 1:5 cement sand internal plaster to wall up to any height etc. complete. |  |  |
|  | - Lower /Ground Floor | 260 | 100 Sft |
|  | - First Floor | 120 | 100 Sft |
| 1.11 | Provide, apply smooth 3/8" (10 mm) thick cement sand plaster 1:3 ceiling, cantilever slabs, sides and soffits of beams plaster etc., in basement, mezzanine and ground floor including making edges, corners and curing etc., complete. |  |  |
|  | - Lower /Ground Floor | 250 | 100 Sft |
|  | - First Floor | 100 | 100 Sft |
| 1.12 | Provide, apply, finish smooth, cure, etc. ¾″ thick 1:4 cement sand external plaster, complete up to any height |  |  |
|  | - Lower /Ground Floor | 4200 | 100 Sft |
|  | - First Floor | 350 | 100 Sft |
| 1.13 | Providing and fixing 1/4 inches or 6.4 mm (approx.) thick approved Pakistani make white glazed tiles up to 1.50sq feet to 3. sq. ft size in dado and skirting in ground floor, over 1/2 inch (13 mm) thick base of cement mortar 1:3 setting of tiles in slurry of grey cement over mortar base including filling the joints and washing the tile with white cement slurry curing and cleaning etc. complete |  |  |
|  | a) Ground Floor | 200 | 100 Sft |
| 1.14 | Provide and fixing floor approved colored glazed tiles more than from 1 Sft to 2 Sft size master make or equivalent first grade in ground floor laid over 1" thick cement mortar 1:2, including filling the joints and washing the tiles with white cement slurry a matching color and curing and cleaning etc. complete. |  |  |
|  | LGF /GF | 75 | 100 Sft |
| 1.15 | Providing and laying 2 inches (51 mm) thick damp proof course with cement concrete 1:2:4 cast in situ using graded screened bajri of 3/4 inch (19 mm) and down gauge including compacting, curing, form work and its removal etc. complete with applying a coat of hot bitumen (maxphalt 80/100 or equivalent) using 35 Lbs. per hundred square feet (1.71 Kg/sm) on damp proof course after complete drying and cleaning the surface . | 70.00 | 100 Sft |
| 1.16 | Providing and laying double layer of polythene sheet of 500 gauge (0.005 inch or 0.13 mm thick) under floors for water proofing laid as per specifications and instructions of the Engineer-in-Charge in ground floor. | 125.00 | 100 Sft |
| 1.17 | Providing and fixing 1-1/2 inch (38 mm) thick best quality deodar wood shutters fully paneled with same wood, approved iron hinges and tower bolts, etc., as required.. | 20.00 | P.Sft |
| 1.18 | Providing and fixing on door frame etc. with sunken iron screw best quality deodar wood molding/beading/ architrave etc. of approved design (2-1/4" x 5/8" x 3/8" Taper), as per drawing (A-08 & Gen-01) complete. | 21 | Rft |
| 1.19 | Providing and fixing fully glazed Silver anodized aluminum Fixed windows Partition as per British standard manufactured by Lucky, Alcop, Krudson, Pakistan Cables and A.C.P. (fixing through approved fabricators) Economy model box section 76.2mm x 38.1mm and 2mm thick including the cost of aluminum fittings, with all accessories cutting hole etc. and making good damages to walls etc. complete as required in any floor as per direction of engineer-in-charge, including the cost of 6mm clear glass pans. | 20.00 | P.Sft |
| 1.20 | Painting Synthetic enamel paint of approved make and shade by spray machine two coats over and including the cost of one priming coat complete at any height in any floor |  |  |
|  | Woodwork | 150 | 100 Sft |
|  | Steel work | 150 | 100 Sft |
| 1.21 | Distempering with vinyl distemper (ICI) Dulux Paintex of approved make and shade in two coats over and including the cost of one priming coat of lime wash including sand papering, dusting, and filling the holes, cracks and inequalities, if any, at any height in any floor. | 300 | 100 Sft |
| 1.22 | Painting three coats with weather shield paint deluxe (ICI) make of approved shade on plaster surface (External) and including the cost of cleaning the surface, sand papering etc. complete at any height in any floor. | 4600 | 100 Sft |
| 1.23 | Provide, laying 1:2:4 cement concrete 2" thick Khurrahs 2'-0" x 2'-0" size on roof including finishing with cement plaster 1:4, curing etc. complete. | 2 | Each |
| 1.24 | Providing and fixing PVC pipe spouts of 3" (80 mm) dia and required length including fixing in cement mortar 1:4 etc. complete. | 20 | Rft |
| 1.25 | Providing and fixing 3" (80 mm) dia polyvinyl chloride (PVC) bend of any degree for rainwater down pipe with clamps, bolts and nuts in cement concrete 1:2:4 etc. complete. | 4 | Each |
| 1.26 | Providing and fixing best quality squatting type earthen ware W.C. pan (Porta or equivalent complete with and including the cost of 13.6-liter best quality low level plastic slushing cistern with internal fittings complete. P.V.C flushing pipe suitable for squatting type with extra bends and length with fittings, PVC trap 4 inches dia and making requisite number of holes in walls, plinth and floor for pipe connection and making good in cement concrete 1:2:4. | 1 | Each |
| 1.27 | Providing and fixing English W.C. ICL/Forte Export Quality, white glazed earthen ware wash down W.C. pan complete with and including the cost of white baculite plastic seat and lid with C.P. brass hinges and buffers, 3 gallons white glazed earthen ware coupled low level flushing cistern with siphonic fittings, 1-1/2" dia white porcelain enameled flush bend, 3/4" dia G.I. warning pipes carried out side and bent vertically down wards and making requisite number of holes in walls, plinth and floor for pipe connection and making good in cement concrete 1:2:4 including 1/2" dia C.P. Brass stop cock (Magna make) and C.P. flexible connection, S-trap, complete set, as directed. | 1 | Each |
| 1.28 | Providing and fixing wash-hand Basin ICL/Forte make Frigate/ 60 cm (white export quality) including brackets, bracket bolts, chain plug, ½″ dia C.P. inlet connections, C.P. brass stop cock (Master/Faisal make), 1¼″ dia C.P. brass bottle trap with union coupling and G.I/ C.P waste complete including painting pipes and brackets as specified including ½″ dia pillar cock of Magna make (brackets of 1״ x 1״ x 1/8״ of Angle Iron). | 1 | Each |
| 1.29 | Extra over item above for providing and fixing matching white glazed earthen ware pedestal ICL/Forte make, export quality. | 1 | Each |
| 1.30 | Providing and fixing 24 inches x 18 inches (610 mm x 457 mm) looking mirror of Imported glass 5 mm thick fixing with CP clamps and screws. | 1 | Each |
| 1.31 | Providing and fixing plastic shelf of standard size of any color and design with CP brass screws. | 1 | Each |
| 1.32 | Providing and fixing plastic (PVC) toilet paper holder in wall complete of any color. | 1 | Each |
| 1.33 | Providing and fixing 30" x 3/4"(762 mm x 20 mm) dia approved quality of chrome plated brass towel rail complete with brackets fixed with 1"(25 mm) long C.P brass screws and Rawal plug. | 1 | Each |
| 1.34 | Providing and fixing un plasticized polyvinyl chloride pipe (U.P.V.C) “D” class (Acid Proof) of "Dadex" with specials such as bend Tee L-bow reducer union floor trap etc. and clamps etc., including cutting and fitting complete with and including the cost of breaking through walls and roof and making good etc., after cleaning the pipe and cartage within 10 miles (16.09 km). |  |  |
|  | 3" Dia | 20 | Rft |
|  | 4" Dia | 30 | Rft |
|  | 6" dia | 40 | Rft |
| 1.35 | Providing and Fixing PPRC pipe PN-20 with specials, and clamps etc., including cutting and fitting complete with and including the cost of breaking through walls and roof and making good etc.; after cleaning the pipe and cartage within 10 miles, (Internal) |  |  |
|  | 25 mm dia | 30 | Rft |
|  | 32 mm dia | 30 | Rft |
| 1.36 | Providing and fixing G.I/M.S. molded steel door frames of 5.73" x 2-1/2" (146 mm x 63 mm) manufactured from mild steel sheet of 18 gauge (1.41 mm) conforming to B.S.S. 1245 having a double rebate size 1-1/2" x 1/2" (38 mm x 12 mm) provision of 3 Nos. M.S. plate, section 1-1/2" x 1/4" (38 mm x 6 mm) (2 Nos. 6 inch long welded with frame at not less than 10 points and 1 Nos. 12 inch long welded with frame at not less than 20 points), with holes and threads for fixing steel hinges, fitted with one locking box of same sheet (point welded inside the frame), 6 Nos. 6 inches long flat iron fixing lugs of 1-1/4" x 3/16" section, treated with special red oxide primer coat all around including cutting holes and filling the cavity with cement concrete 1:2:4 etc. in any floor at any height complete as directed by the Engineer-in-Charge. | 40 | Rft |
| 1.37 | Providing and fixing gun metal full way heavy duty gate valves for water, (Asia/Anwar/Bag) with wheel, threaded ends, complete as specified and as approved and replacing the old one. |  |  |
|  | ¾″dia | 1 | Each |
|  | 1" dia | 1 | Each |
| 1.38 | Providing and fixing 1/2 inches dia. (15 mm) CP bib cocks. | 3 | Each |
| 1.39 | Do.Do.1/2 inches (15 mm) dia CP stop cocks/Tee Stop Cock. | 3 | Each |
| 1.40 | Providing & fixing chromium plated Muslim bib-cock with Muslim Shower of approved quality. | 2 | Each |
| 1.41 | Providing manhole type 'B' size 3 feet x 2-1/2 feet or 914 mm x 762 mm (inside dimensions) x 4 feet (1219 mm deep as per approved design and specifications complete for 4 inches to 12 inches (100 mm to 305 mm) dia. Pipe 4 feet to 7 feet-5 inches (1.22 m to 2.26m) depth with 18 inches (457 mm) dia. (inside) cast iron cover and frame (weights 1 Cwt. 3 Qrs.) or 88.9 kg, fixed in R.C.C.1:2:4 slab 6 inches (152 mm) thick, 9 inches (229 mm) thick burnt brick masonry walls set in 1:4 C.M., 6 inches (152 mm) thick 1:3:6 C,C. in foundation, 1:2:4 C.C. in benching and 1/2 inch (13 mm) thick cement plaster in 1:3 C.M., to all inside wall surfaces, channels and benching etc. and to top including providing and fixing cast iron foot rest at every foot of depth and making requisite number of main and branch channels but excluding the cost of excavation, back filling, disposal of excavated stuff, manhole cover and frame. | 1 | Each |
| 1.42 | Add for extra depth beyond 4 feet (1.22 m) and up to 7 feet-5 inches (2.26 m) for 'B' type manholes including cost of cast iron footrest at every foot (305 mm) of depth (for depth lesser than 4 feet or 1.22 m deduct at the same rate). | 24 | Inch |
| 1.43 | Providing and fixing CP Mixer 1/2 inches (15 mm) (Faisal/Master or equivalent) lever type Pakistani complete in all respect. | 2 | Each |
| 1.44 | Providing and fixing floor waste 6"x6" (stainless steel) Jali etc. complete. | 3 | Each |
| 1.45 | Dismantling cement tiled floor, dado or skirting in basement, plinth and ground floor including base mortar and stacking salvaged material (serviceable) and disposing of surplus stuff as directed within three chains (91.5 m). | 220 | 100 Sft |
| 1.46 | Dismantling R.C.C. including separating reinforcement from concrete in foundation, basement, plinth and ground floor including stacking at site and disposing of unserviceable material within three chains (91.5 m). | 275 | 100 Cft |
| 1.47 | Dismantling cement concrete work in foundation, basement, plinth and ground floor i/c disposing of the material is directed complete. | 125 | 100 Cft |
| 1.48 | Fabrication and fixing of the Fiber shed consisting of 5-Ply fiber sheet and 2"x2" M.S. Box pipe 16 Guage main frame beams and central bracing 2"x2" at 24" c/c diagonal and 2"x2" support up to 2 feet c/c over 4" dia M.S. pipe 16 gauge 10-14 feet heigh i/c the cost of excavation , with PCC 1:2:4 and RCC with steel and MS steel plate 1/2" thick in foundation, size 2'x2' cutting fitting, welding painting etc. complete as per direction of engineer in charge. | 625.00 | Sft |
| 1.49 | Providing, fixing, jointing, testing and disinfecting good quality G.I. Pipes and specials i.e. Sockets, Tees, Elbows, Bends, Cross, Reducers, Clamps, Nipples, Plugs and Unions etc. including two coats of approved bitumastic paint on concealed lines and enamel paint on surface lines, for:- Water pipelines buried in trenches, under floor or suspended from slab and duct or chased in walls i/c repair of chases and ducts where required, complete.- (IILM) |  |  |
|  | 1½″ dia (11 SWG) | 50 | Rft |
| 1.50 | Providing and fixing galvanized iron barbed wire fencing (with two points) to the posts of any description complete with hooks and binding wire etc. if required (cost of posts not included). | 400 | P.kg |
| 1.51 | Providing and fixing Royal bathroom accessory set of 7 pieces consist of one cosmetic shelf, one towel rod with bracket, one soap dish, one toothbrush holder with glass and cover, one tissue paper holder one double hook one towel ring etc. complete of approved quality as per direction of Engineer in-charge. | 1 | Each |
| 1.52 | Providing and laying 6" (102 mm) thick not leaner than 1:2:4 cement concrete (minimum works cube crushing strength of 2250 Lbs. PSI (158 Kg. per Sq.cm. at 28 days) in road, paths, Crete-ways etc. using crushed graded boulders in panels of approved size laid to required gradient and camber over any sub-grade including cost of necessary form work and its removal, compacting with vibrators (immersion or screen or both) belting the surface with canvas belt, roughening the surface after laying concrete with brush and curing etc. complete.. | 2325 | 100 Sft |
| 1.53 | Providing and laying M.S. reinforcement bars with and including the cost of straightening, cutting, bending, binding wastage and such overlaps as are not shown in the drawings, binding wire, cement concrete 1:2:4 precast or M.S. chairs, and placing in position on cement concrete precast of M.S. chairs tying with binding wire etc. in all kinds of RCC roads, paths and runways etc. | 1250 | Kg |
| 1.54 | Provide, lay and install, including heating, curing etc. roof treatment consisting of PCC 1:2:4 (by volume) screed 4" x 1" thick (average 2½" thick) to required gradient, and in approved size panels, using Lawrancepur Sand and approved graded crushed stone (1/8" to 3/8" size) as fine and coarse aggregates respectively, one coat of approved bitumen primer at the rate of one gallon per 100 Sft as per Specs. Clause 7.6.1 i/c surface preparation of concrete screed, two coats of bitumen at the rate of 34 Lbs. per 100 Sft (total for both coats) and blinding with crush pan complete as directed up to any height. | 800 | 100 Sft |
| 1.55 | Repairing of Existing M.S main and wicket gates. Repairing including damage portion with same section, anchors, hold fast, rollers, rails, stoppers, locking arrangement (from inside and outside) painting and finishing as per Existing Specifications/Sections or as directed by Engineer. | 250 | Sft |
| 1.56 | Providing and fixing C.P Muslim Shower master/Faisal make complete in all respects. | 1 | Each |
| 1.57 | Providing and placing M.S 16 SWG Steel Ladder of 3" x 1-1/2" M.S rectangle pipe having the same size steps i/c painting complete. Length as required. (18 inch Wide.) | 24 | Rft |
| 1.58 | Repairing of Existing Fiber glass Sheet applying with fiber glass lamination and ultra cover coat (each 2 coat) including chemical filling all joint and creaks up to satisfactory manners, cleaning scraping of old damage surface as directed, with applying enamel painting for existing MS frame, vertical posts and existing sheet bottom, welding, grinding where as required. | 1750.00 | Sft |
| 1.59 | Providing and applying water proofing, applying of prime coat consisting of three components (cement SBR, Elastomeric) binder material filling cracks and joints with polyurethane and covered with re-enforced membrane sheet of specific number. Applying first coat single component elastomeric chemical and 2nd coat of single component of elastomeric chemical etc. complete | 1500 | Sft |
| 1.60 | Providing and fixing chain link fencing of 4mm G.I wire 2"x2" mesh 11 (AWG) with clamp 4 No. both end and bold, jubilee clamp 14 no. including staples putti 2" dia vertical post including cost of 1-1/2" dia G. I pipe for top & bottom to weld with main post size of panel is not more than (8' x 6'). complete in all respect. or as directed by Engineer. | 200 | Sft |
| 1.61 | Removing & Refixing of existing Razor Wire, Barbed Wire and MS Spik Guard Railing including welding cutting, binding etc. complete as directed by Engineer In charge. | 550 | Rft |
| 1.62 | Removing Existing M.S Grill, channel, Putti & RCC Planks (2" thick) From Boundary wall panels. Including cutting, grinding stacking in a suitable place as directed by Engineer In charge. Complete in all respect. | 4160 | Sft |

Bill No. 2, Title: Electrical Works

| Item. # | Description | Quantity | Unit of Measurement |
| --- | --- | --- | --- |
| 2.1 | Supply, installation, testing & commissioning of metallic body exhaust fans with best quality approved steel shutter complete in all respects, i/c ceiling rose. Fan shall be latest model of Pak, Royal, GFC, Younas or Millat make: 12" sweep | 2 | Each |
| 2.2 | Providing and fixing PVC U-channel open ducting on walls/ceiling complete in all respect. |  |  |
|  | Size: 16 x 25 mm | 50 | Rft |
| 2.3 | Supply, installation, testing and commissioning of LED tube /Batten Lights including driver warm / Neutral White / cool white color 80-90 im/watts efficiency, 0.9 or above power factor, 10000-15000 hours life cycle, including connection, complete in all respect as approved by the Engineer In charge (4 Feet 36 Watts) | 4 | Each |
| 2.4 | Providing and installing 56" sweep ceiling fan with blades canopy, standard length of down rod including connection with 14.0076" flexible wire completes as required (without regulator) Pak, Royal, GFC, Younas, Millat. | 2 | Each |
| 2.5 | Supply and drawing of 1.5mm2, single core, PVC insulated wire in all kinds of existing or given conduit / cable duct as required. | 100 | Rft |
| 2.6 | Wiring for light or fan point with (3/.029") PVC insulated wire in 20 mm², (3/4") dia uPVC conduit recessed in the wall, column, roof, including 1mm² single core PVC insulated wire as ECC as required. | 10 | Point |
| 2.7 | Wiring for sub-main with 2x 2.5 mm², PVC insulated wire 300/500 volts grade, single core, stranded copper conductor wire including 1.5 mm² PVC insulated wire single core wire as ECC in 20 mm (3/4”) dia uPVC conduit fitted on surface as required. | 100 | Rft |
| 2.8 | Providing & fixing 10 Amps Polycarbonate flame retardant S.P switch with fancy "Ivory” gang plate fixed on die fabricated, powder coated, metal board recessed in the wall or column including connection as required. (MATRIX / SOK / TJ SERIES/TRUST make) | 10 | Each |
| 2.9 | Providing & fixing flush type, 6/10 Amps 3-Pin switch and socket combine unit with neon bulb (Universal) fixed on Plastic or Fiber top covered sheet on (14 SWG) metal board with earth terminal recessed in wall and column including, connection as required. | 5 | Each |
| 2.10 | P/F Flush Type 15 Amps 3Pin Switch & Socket Combined Unit (Power Plug) Fixed on plastic or fiber top covered sheet on 14SWG metal board with earth terminal recessed in walls & column i/c connection as required. | 5 | Each |
| 2.11 | Supply, installation, testing & commissioning of 18" Sweep Wall Bracket Fan complete with blades, regulator & pulling cord switch, fitted on wall or column with GI clip including connections as required. Pak, Royal, GFC, Younas, Millat. | 4 | Each |

Note for Bidders

- Cost estimation of above Bill of Quantities has been done using rates of Scheduled Items derived by Pakistan Public Works Department under its CSR 2022, whereas Non-scheduled Items have been costed based on Market Survey.

- Soft Copy of the Bill of Quantities has been uploaded at the website of the University (www.aiou.edu.pk) which the bidders may download for their ease.

Technical Proposal

- Site Organization

- Method Statement

- Mobilization Schedule

- Construction Schedule

- Equipment

Site Organization

Method Statement

Mobilization Schedule

In accordance with the Particular Conditions, Sub-Clause 4.1, the Contractor shall not carry out mobilization to Site unless the Engineer gives consent.

Construction Schedule

Form EQU: Equipment

The Bidder shall provide adequate information to demonstrate clearly that it has the capability to meet the requirements for the key equipment listed in Section V, Evaluation and Qualification Criteria. A separate Form shall be prepared for each item of equipment listed, or for alternative equipment proposed by the Bidder.

| Item of equipment |  |  |
| --- | --- | --- |
| Equipment information | Name of manufacturer | Model and power rating |
|  | Capacity | Year of manufacture |
| Current status | Current location |  |
|  | Details of current commitments |  |
| Source | Indicate source of the equipment o Owned o Rented o Leased o Specially manufactured |  |

Omit the following information for equipment owned by the Bidder.

| Owner | Name of owner |  |
| --- | --- | --- |
|  | Address of owner |  |
|  | Telephone | Contact name and title |
|  | Fax | Telex |
| Agreements | Details of rental / lease / manufacture agreements specific to the project |  |

SECTION VII

STANDARD BIDDING FORMS

# Section VII: Standard Bidding Forms

Table of Forms

Letter of Bid – Technical Proposal	78

Letter of Bid - Financial Proposal	80

FORM ELI 1	83

Bidder Information Form	83

ELI2	84

Bidder’s JV Members Information Form	84

Financial Situation	91

EXPERIENCE	98

Form of Bid Security	103

Priced Bill of Quantities	105

Schedule of Adjustment Data	105

Form of Affidavit	108

Beneficial Ownership Disclosure Form	110

Letter of Bid – Technical Proposal

INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE DOCUMENT Place this Letter of Bid in the first envelope “TECHNICAL PROPOSAL”. The Bidder must prepare the Letter of Bid on stationery with its letterhead clearly showing the Bidder’s complete name and business address. Note: All italicized text in black font is to help Bidders in preparing this form and Bidders shall delete it from the final document.

Date of this Bid submission: [insert date (as day, month and year) of Bid submission]

IFB No.: [insert number of Bidding process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To: [insert complete name of Employer]

We, the undersigned Bidder, hereby submit the first part of our Bid, the Technical Proposal

In submitting our Bid we make the following declarations:

- No reservations: We have examined and have no reservations to the bidding document, including addenda issued in accordance with Instructions to Bidders (ITB 9);

- Eligibility: We meet the eligibility requirements and have no conflict of interest in accordance with ITB 3;

- Bid/Proposal-Securing Declaration: We have not been suspended nor declared ineligible by the Employer based on execution of a Bid Securing Declaration or Bid Securing Declaration in the Employer’s country in accordance with ITB 3;

- Conformity: We hereby confirm that we have ensured sufficiency of our bid by employing all satisfactory measures, and we offer to execute works in conformity with the bidding document and in accordance with the works requirements: [insert a brief description of the WORKS].;

- Bid Validity Period: Our Bid shall be valid for the period specified in BDS 18.1 (as amended, if applicable) from the date fixed for the Bid submission deadline specified in BDS 24.1 (as amended, if applicable), and it shall remain binding upon us, and may be accepted at any time before the expiration of that period;

- Performance Security: If our Bid is accepted, we commit to obtain a performance security in accordance with the bidding document;

- One Bid per Bidder: We are not submitting any other Bid(s) as an individual Bidder, and we are not participating in any other bid(s) as a Joint Venture member or as a subcontractor, and meet the requirements, other than Alternative Bids submitted in accordance with ITB 20;

- Suspension and Debarment: We, along with any of our subcontractors, suppliers, consultants, manufacturers, or service providers for any part of the contract, are not subject to, and not controlled by any entity or individual that is subject to, a temporary suspension or a debarment imposed by the Employer. Further, we are not ineligible under Pakistan laws;

- State-owned enterprise or institution: [select the appropriate option and delete the other] [We are not a state-owned enterprise or institution] / [We are a state-owned enterprise or institution ];

- Binding Contract: We understand that this Bid, together with your written acceptance thereof included in your Letter of Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed;

- Not Bound to Accept: We understand that you are not bound to accept the Most Advantageous Bid or any other Bid that you may receive; and

- Fraud and Corruption: We hereby certify that we have taken steps to ensure that no person acting for us, or on our behalf, engages in any type of Fraud and Corruption.

Name of the Bidder: *[insert complete name of Bidder]

Country of Origin of the Bidder: [insert country of origin, in case of JV country of origin of lead member]

Name of the person duly authorized to sign the Bid on behalf of the Bidder: ** [insert complete name of person duly authorized to sign the Bid]

Title of the person signing the Bid: [insert complete title of the person signing the Bid]

Signature of the person named above: [insert signature of person whose name and capacity are shown above]

Date signed [insert date of signing] day of [insert month], [insert year]

*: In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder.

**: Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.

Letter of Bid - Financial Proposal

INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE DOCUMENT Place this Letter of Bid - Financial Proposal in the second envelope marked “FINANCIAL PROPOSAL”. The Bidder must prepare the Letter of Bid - Financial Proposal on stationery with its letterhead clearly showing the Bidder’s complete name and business address. Note: All italicized text is to help Bidders in preparing this form.

Date of this Bid submission: [insert date (as day, month and year) of Bid submission]

Invitation for Bid No.: [insert number of bidding process]

Name of Project.: [insert identification]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To: [insert complete name of Employer]

We, the undersigned Bidder, hereby submit the second part of our Bid, the Financial Proposal

In submitting our Financial Proposal we make the following additional declarations:

- Bid Validity Period: Our Bid shall be valid for the period specified in BDS 18.1 (as amended, if applicable) from the date fixed for the bid submission deadline specified in BDS 24.1 (as amended, if applicable), and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- Total Price: The total price of our Bid, inclusive of all applicable indirect taxes, is:

In case of only one lot, the total price of the Bid, inclusive of all applicable indirect taxes, is [insert the total price of the bid in words and figures, indicating the various amounts and the respective currencies];

In case of multiple lots, the total price of each lot, inclusive of all applicable indirect taxes, is [insert the total price of each lot in words and figures, indicating the various amounts and the respective currencies];

In case of multiple lots, total price of all lots (sum of all lots), inclusive of all applicable indirect taxes, is [insert the total price of all lots in words and figures, indicating the various amounts and the respective currencies];

- Commissions, gratuities and fees: We have paid, or will pay the following commissions, gratuities, or fees with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, its full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity].

| Name of Recipient | Address | Reason | Amount |
| --- | --- | --- | --- |

(If none has been paid or is to be paid, indicate “none.”)

- Binding Contract: We understand that this Bid, together with your written acceptance thereof included in your Letter of Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed.

Name of the Bidder:*[insert complete name of the Bidder]

Name of the person duly authorized to sign the Bid on behalf of the Bidder: ** [insert complete name of person duly authorized to sign the Bid]

Title of the person signing the Bid: [insert complete title of the person signing the Bid]

Signature of the person named above: [insert signature of person whose name and capacity are shown above]

Date signed [insert date of signing] day of [insert month], [insert year]

*: In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder.

**: Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.

Bidder’s Qualification

To establish its qualifications to perform the contract in accordance with Section V (Evaluation and Qualification Criteria) the Bidder shall provide the information requested in the corresponding Information Sheets/Forms included hereunder

The information provided in the Forms shall be substantiated with valid documentary evidence otherwise the requirement will not be considered as complied.

FORM ELI 1

Bidder Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid submission]

IFB No.: [insert number of Bidding process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

Page ________ of_ ______ pages

1. Bidder’s Name [insert Bidder’s legal name]

2. In case of JV, legal name of each member : [insert legal name of each member in JV]

3. Bidder’s actual or intended country of registration: [insert actual or intended country of registration]

4. Bidder’s year of registration: [insert Bidder’s year of registration]

5. Bidder’s Address in country of registration: [insert Bidder’s legal address in country of registration]

6. Bidder’s Authorized Representative Information Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address]

7. Attached are copies of original documents of [check the box(es) of the attached original documents] Articles of Incorporation (or equivalent documents of constitution or association), and/or documents of registration of the legal entity named above. In case of JV, JV agreement, in accordance with ITB 3.3. Establishing that the Bidder is not under the supervision of the Employer[ in case of subsidiaries] 8. Included are the organizational chart, a list of Board of Directors, and the beneficial ownership.

ELI2

Bidder’s JV Members Information Form

[Not Applicable]

[The Bidder shall fill in this Form in accordance with the instructions indicated below. The following table shall be filled in for the Bidder and for each member of a Joint Venture].

Date: [insert date (as day, month and year) of Bid submission]

IFB No.: [insert number of IFB process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

Page ________ of_ ______ pages

1. Bidder’s Name: [insert Bidder’s legal name]

2. Bidder’s JV Member’s name: [insert JV’s Member legal name]

3. Bidder’s JV Member’s country of registration: [insert JV’s Member country of registration]

4. Bidder’s JV Member’s year of registration: [insert JV’s Member year of registration]

5. Bidder’s JV Member’s legal address in country of registration: [insert JV’s Member legal address in country of registration]

6. Bidder’s JV Member’s authorized representative information Name: [insert name of JV’s Member authorized representative] Address: [insert address of JV’s Member authorized representative] Telephone/Fax numbers: [insert telephone/fax numbers of JV’s Member authorized representative] Email Address: [insert email address of JV’s Member authorized representative]

7. Attached are copies of original documents of [check the box(es) of the attached original documents] Articles of Incorporation (or equivalent documents of constitution or association), and/or registration documents of the legal entity named above. 8. Included are the organizational chart, a list of Board of Directors, and the beneficial ownership.

Personnel

Form PER -1

Contractor’s Representative and Key Personnel

Schedule

Bidders should provide the names and details of the suitably qualified Contractor’s Representative and Key Personnel to perform the Contract. The data on their experience should be supplied using the Form PER-2 below for each candidate.

Contractor’ Representative and Key Personnel

| 1. | Title of position: |  |
| --- | --- | --- |
|  | Name of candidate: |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 2. | Title of position: |  |
|  | Name of candidate: |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 3. | Title of position: |  |
|  | Name of candidate: |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 4. | Title of position: |  |
|  | Name of candidate: |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 5. | Title of position: |  |
|  | Name of candidate |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |
| 6. | Title of position: [insert title] |  |
|  | Name of candidate |  |
|  | Duration of appointment: | [insert the whole period (start and end dates) for which this position will be engaged] |
|  | Time commitment: for this position: | [insert the number of days/week/months/ that has been scheduled for this position] |
|  | Expected time schedule for this position: | [insert the expected time schedule for this position (e.g. attach high level Gantt chart] |

Form PER-2:

Resume and Declaration

Contractor’s Representative and Key Personnel

Name of Bidder

| Position [#1]: [title of position from Form PER-1] |  |  |
| --- | --- | --- |
| Personnel information | Name: | Date of birth: |
|  | Address: | E-mail: |
|  | Professional qualifications: |  |
|  | Academic qualifications: |  |
|  | Language proficiency:[language and levels of speaking, reading and writing skills] |  |
| details |  |  |
|  | Address of Employer: |  |
|  | Telephone: | Contact (manager / personnel officer): |
|  | Fax: |  |
|  | Job title: | Years with present Employer: |

Summarize professional experience in reverse chronological order. Indicate particular technical and managerial experience relevant to the project.

| Project | Role | Duration of involvement | Relevant experience |
| --- | --- | --- | --- |
| [main project details] | [role and responsibilities on the project] | [time in role] | [describe the experience relevant to this position] |

Declaration

I, the undersigned [ insert either “Contractor’s Representative” or “Key Personnel” as applicable] , certify that to the best of my knowledge and belief, the information contained in this Form PER-2 correctly describes myself, my qualifications and my experience.

I confirm that I am available as certified in the following table and throughout the expected time schedule for this position as provided in the Bid:

| Commitment | Details |
| --- | --- |
| Commitment to duration of contract: | [insert period (start and end dates) for which this Contractor’s Representative or Key Personnel is available to work on this contract] |
| Time commitment: | [insert period (start and end dates) for which this Contractor’s Representative or Key Personnel is available to work on this contract] |

I understand that any misrepresentation or omission in this Form may:

- be taken into consideration during Bid evaluation;

- result in my disqualification from participating in the Bid;

- result in my dismissal from the contract.

Name of Contractor’s Representative or Key Personnel: [insert name]				Signature: __________________________________________________________

Date: (day month year): _______________________________________________

Countersignature of authorized representative of the Bidder:

Signature: ________________________________________________________

Date: (day month year): ____________________________
Form CON – 2

Historical Contract Non-Performance, Pending Litigation and Litigation History

Bidder’s Name: ________________
Date: ______________________
JV Member Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

| Non-Performed Contracts in accordance with Qualification Criteria |  |  |  |
| --- | --- | --- | --- |
| Contract non-performance did not occur January [insert year] Contract(s) not performed since [insert year] |  |  |  |
| Year | Non- performed portion of contract | Contract Identification | Total Contract Amount (current value, currency, exchange rate and PKR equivalent) |
|  |  | Contract Identification: Name of Employer(PA): Address of PA: Reason(s) for nonperformance: |  |
| Pending Litigation, in accordance with Qualification Criteria |  |  |  |
| No pending litigation |  |  |  |
| Pending litigation |  |  |  |

| Year of dispute | Amount in dispute (currency) | Contract Identification | Total Contract Amount |
| --- | --- | --- | --- |
|  |  | Contract Identification: _________ Name of PA: ____________ Address of PA: __________ Matter in dispute: ______________ Party who initiated the dispute: ____ Status of dispute: ___________ |  |
| Litigation History in accordance with Section V, Evaluation and Qualification Criteria of the Prequalification document |  |  |  |
|  No Litigation History  Litigation History |  |  |  |
| Year of award | Outcome as percentage of Net Worth | Contract Identification | Total Contract Amount (currency), PKR Equivalent (exchange rate) |
| [insert year] | [insert percentage] | Contract Identification: [indicate complete contract name, number, and any other identification] Name of PA: [insert full name] Address of PA: [insert street/city/country] Matter in dispute: [indicate main issues in dispute] Party who initiated the dispute: [indicate “Employer” or “Contractor”] Reason(s) for Litigation and award decision [indicate main reason(s)] | [insert amount] |

Financial Situation

Form FIN – 3.1:

Financial Situation and Performance

Bidder’s Name: ________________
Date: ______________________
JV Member’s Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

1. Financial data

| Type of Financial information in (currency) | Historic information for previous _________years, ______________ (amount in currency, currency, exchange rate*, PKR equivalent) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Year 1 | Year 2 | Year 3 | Year4 | Year 5 |
| Statement of Financial Position (Information from Balance Sheet) |  |  |  |  |  |
| Total Assets (TA) |  |  |  |  |  |
| Total Liabilities (TL) |  |  |  |  |  |
| Total Equity/Net Worth (NW) |  |  |  |  |  |
| Current Assets (CA) |  |  |  |  |  |
| Current Liabilities (CL) |  |  |  |  |  |
| Working Capital (WC) |  |  |  |  |  |
| Information from Income Statement |  |  |  |  |  |
| Total Revenue (TR) |  |  |  |  |  |
| Profits Before Taxes (PBT) |  |  |  |  |  |
| Cash Flow Information |  |  |  |  |  |
| Cash Flow from Operating Activities |  |  |  |  |  |

*Exchange rate used for calculations should be two days prior to the bids submission.

2. Sources of Finance

Specify sources of finance to meet the cash flow requirements on works currently in progress and for future contract commitments.

| No. | Source of finance | Amount (PKR) |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |

2. Financial documents

The Bidder and its parties shall provide copies of financial statements for ___________years pursuant to Evaluation and Qualifications Criteria, Sub-factor 3.1. The financial statements shall:

(a) 	reflect the financial situation of the Bidder or in case of JV member, and not an affiliated entity  (such as parent company or group member).

(b)	be independently audited or certified in accordance with local legislation.

(c)	be complete, including all notes to the financial statements.

(d)	correspond to accounting periods already completed and audited.

Attached are copies of financial statements  for the ____________years required above; and complying with the requirements

Form FIN – 3.2:

Average Annual Construction Turnover

Bidder’s Name: ________________
Date: ______________________
JV Member’s Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

|  |  | Annual turnover data (construction only) |  |  |
| --- | --- | --- | --- | --- |
| Year | Amount Currency |  | Exchange rate ** | PKR equivalent |
| [indicate year] | [insert amount and indicate currency] |  |  |  |
| Average Annual Construction Turnover * |  |  |  |  |

* See Section V, Evaluation and Qualification Criteria.

* * Exchange rate used for calculations should be two days prior to the bids submission

Form FIN – 3.3:

Financial Resources

Specify proposed sources of financing, such as liquid assets, unencumbered real assets, lines of credit, and other financial means, net of current commitments, available to meet the total construction cash flow demands of the subject contract or contracts as specified in Section – V (Evaluation and Qualification Criteria)

| Financial Resources |  |  |
| --- | --- | --- |
| No. | Source of financing | Amount |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |

Form FIN – 3.4:

Current Contract Commitments / Works in Progress

Bidders and each member to a JV should provide information on their current commitments on all contracts that have been awarded, or for which a letter of intent or acceptance has been received, or for contracts approaching completion, but for which an unqualified, full completion certificate has yet to be issued.

##### Current Contract Commitments

| No. | Name of Contract | Employer’s Contact Address, Tel, Fax | Value of Outstanding Work [PKR Equivalent] | Estimated Completion Date | Average Monthly Invoicing Over Last Six Months [PKR/month)] |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |

Form FIN - 5:

Self-Assessment Tool for Bidder’s Compliance to Financial Resources (Criterion 2.1 of Section V)

This form requires the same information submitted in Forms FIN – 3.3 and FIN -3.4. All conditions of “Available Financial Resources Net of CCC ≥ Requirement for the Subject Contract” must be satisfied to qualify.

Form FIN - 5A: For Single Entities

| For Single Entities: (A) | Total Available Financial Resources from FIN – 3.3 (B) | Total Monthly Financial Requirement for Current Contract Commitments (CCC) from FIN – 3.4 (C) | Available Financial Resources Net of CCC D = (B - C) | Requirement for the Subject Contract (E) | Results: Yes or No [D must be greater than or equal to E] (F) |
| --- | --- | --- | --- | --- | --- |
| _________ (Name of Bidder) |  |  |  | . . . . . . . . . . ._ |  |

Form FIN - 5B: For Joint Ventures

| For Joint Ventures: (A) | Total Available Financial Resources from FIN – 3.3 (B) | Total Monthly Financial Requirement for Current Contract Commitments (CCC) from FIN – 3.4 (C) | Available Financial Resources Net of CCC D = (B - C) | Requirement for the Subject Contract (E) | Results: Yes or No [D must be greater than or equal to E] (F) |
| --- | --- | --- | --- | --- | --- |
| One Partner: |  |  |  |  |  |
| ____________ (Name of Partner) |  |  |  | . . . . . . . . . . . |  |
| Each Partner: |  |  |  |  |  |
| _____________ (Name of Partner 1) |  |  |  | . . . . . . . . . . . |  |
| _____________ (Name of Partner 2) |  |  |  | . . . . . . . . . . . |  |
| _____________ (Name of Partner 3) |  |  |  | . . . . . . . . . . . |  |
| All partners combined | ∑ D = Sum of available financial resources net of current contract commitments for all partners |  | ∑ D = _______ | . . . . . . . . . . . |  |

- Note -

Form FIN – 5 is made available for use by the bidder as a self-assessment tool, and by the employer as an evaluation work sheet, to determine compliance with the financial resources requirement as stated in 3.1 (ii). Failure to submit Form FIN - 5 by the Bidder shall not lead to bid rejection.

EXPERIENCE

Form EXP - 4.1

General Construction Experience

Bidder’s Name: ________________
Date: ______________________
JV Member’s Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

| Starting Year | Ending Year | Contract Identification | Role of Bidder |
| --- | --- | --- | --- |
|  |  | Contract name: ____________________ Brief Description of the Works performed by the Bidder: _____________________________ Amount of contract: ___________________ Name of PA: ____________________ Address: _____________________________ |  |
|  |  | Contract name: _________________________ Brief Description of the Works performed by the Bidder: _____________________________ Amount of contract: ___________________ Name of PA: ___________________ Address: _________________________ |  |
|  |  | Contract name: ________________________ Brief Description of the Works performed by the Bidder: __________________________ Amount of contract: ___________________ Name of PA: ___________________ Address: _________________________ |  |

Form EXP - 4.2(a)

Specific Construction and Contract Management Experience

Bidder’s Name: ________________
Date: ______________________
JV Member’s Name_________________________
IFB No. and title: ___________________________
Page _______________of ______________pages

| Similar Contract No. | Information |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contract Identification |  |  |  |  |  |
| Award date |  |  |  |  |  |
| Completion date |  |  |  |  |  |
| Role in Contract | Prime Contractor |  | Member in JV | Management Contractor | Sub-contractor |
| Total Contract Amount |  |  |  | PKR equivalent |  |
| If member in a JV or sub-contractor, specify participation in total Contract amount |  |  |  |  |  |
| PA’s Name: |  |  |  |  |  |
| Address: Telephone/fax number E-mail: |  |  |  |  |  |

Form EXP - 4.2(a) (cont.)

Specific Construction and Contract Management Experience (cont.)

| Similar Contract No. | Information |
| --- | --- |
| Description of the similarity in accordance with Sub-Factor 4.2(a) of Section V: |  |
| 1. Amount |  |
| 2. Physical size of required works items |  |
| 3. Complexity |  |
| 4. Methods/Technology |  |
| 5. Construction rate for key activities |  |
| 6. Other Characteristics |  |

Form EXP - 4.2(b)

Construction Experience in Key Activities

Bidder's Name: ________________
Date: ___________________
Bidder's JV Member Name: __________________
Sub-contractor's Name (as per ITB 34.2 and 34.3): ________________
IFB No. and title: _____________________

Page __________________of ________________pages

All Sub-contractors for key activities must complete the information in this form as per ITB 38 and Qualification Criteria and Requirements, Sub-Factor 4.2.

1.	Key Activity No One: ________________________

|  | Information |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contract Identification |  |  |  |  |  |
| Award date |  |  |  |  |  |
| Completion date |  |  |  |  |  |
| Role in Contract | Prime Contractor | Member in JV |  | Management Contractor | Sub-contractor |
| Total Contract Amount |  |  |  | PKR equivalent |  |
| Quantity (Volume, number or rate of production, as applicable) performed under the contract per year or part of the year | Total quantity in the contract (i) |  | Percentage participation (ii) |  | Actual Quantity Performed (i) x (ii) |
| Year 1 |  |  |  |  |  |
| Year 2 |  |  |  |  |  |
| Year 3 |  |  |  |  |  |
| Year 4 |  |  |  |  |  |
| PA’s Name: |  |  |  |  |  |  |
| Address: Telephone/fax number E-mail: |  |  |  |  |  |  |

2. Activity No. Two

3. …………………

|  | Information |
| --- | --- |
| Description of the key activities in accordance with Section V: |  |

Form of Bid Security

(Bank Guarantee)

[The bank shall fill in this Bank Guarantee Form in accordance with the instructions indicated.]

[Guarantor letterhead or SWIFT identifier code]

Beneficiary: [Purchaser to insert its name and address]

No.: [Purchaser to insert reference number for the Request for Bids]

Alternative No.: [Insert identification No if this is a Bid for an alternative]

Date: [Insert date of issue]

BID GUARANTEE No.: [Insert guarantee reference number]

Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]

We have been informed that ______ [insert name of the Bidder, which in the case of a joint venture shall be the name of the joint venture (whether legally constituted or prospective) or the names of all members thereof] (hereinafter called "the Applicant") has submitted or will submit to the Beneficiary its Bid (hereinafter called "the Bid") for the execution of ________________ under Invitation for Bids No. __________ _ (“the IFB”).

Furthermore, we understand that, according to the Beneficiary’s conditions, Bids must be supported by a Bid guarantee.

At the request of the Applicant, we, as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of ___________ (____________) upon receipt by us of the Beneficiary’s complying demand, supported by the Beneficiary’s statement, whether in the demand itself or a separate signed document accompanying or identifying the demand, stating that either the Applicant:

(a) 	has withdrawn its Bid during the period of Bid validity set forth in the Applicant’s Letter of Bid (“the Bid Validity Period”), or any extension thereto provided by the Applicant; or

(b) 	having been notified of the acceptance of its Bid by the Beneficiary during the Bid Validity Period or any extension thereto provided by the Applicant, (i) has failed to sign the contract agreement, or (ii) has failed to furnish the performance security, in accordance with the Instructions to Bidders (“ITB”) of the Beneficiary’s bidding document.

This guarantee will expire: (a) if the Applicant is the successful Bidder, upon our receipt of copies of the Contract agreement signed by the Applicant and the performance security issued to the Beneficiary in relation to such Contract agreement; or (b) if the Applicant is not the successful Bidder, upon the earlier of (i) our receipt of a copy of the Beneficiary’s notification to the Applicant of the results of the Bidding process; or (ii) twenty-eight days after the end of the Bid Validity Period.

Consequently, any demand for payment under this guarantee must be received by us at the office indicated above on or before that date.

_____________________________

[Signature(s)]

Note: All italicized text is for use in preparing this form and shall be deleted from the final product.

Priced Bill of Quantities

[to be printed on letterhead of the bidder]

We confirm that the rates and prices bid in the priced Bill of Quantities, except insofar as it is otherwise provided under the Contract, include all Constructional Plant, labour, supervision, materials, erection, maintenance, insurance, profit, taxes (including GST/PRA), and duties, together with all general risks, liabilities, and obligations set out or implied in the Contract.

A rate or price is entered against each item in the priced Bill of Quantities, whether quantities are stated or not.  The cost of Items against which we have failed to enter a rate, or price shall be deemed to be covered by other rates and prices entered in the Bill of Quantities. Moreover, we confirm, warrant and agree that the Employer shall be at liberty, if we have missed filling the cost/rate against any number of item or component in the bill of quantities, to adjust the overall cost of the bid based on the average price of the item or component as quoted in other substantially responsive Bids. If the price of the item or component cannot be derived from the price of other substantially responsive Bids, the Employer shall use its best estimate.

SUMMARY OF COST

| Bill # | Description | Cost (Pak. Rs.) |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
|  | Sub-Total = |  |
|  | Cost of GST/PRA = |  |
|  | Grand Total = |  |

SUMMARY OF COST

| Bill # | Description | Cost (Pak. Rs.) |
| --- | --- | --- |
| 1.1 |  |  |
| 1.2 |  |  |
| 1.3 |  |  |
| 1.4 |  |  |
| 1.5 |  |  |
|  | Total = |  |

Bill No. 1.1 Title: xx

| Item. # | Ref. | Description | Unit of Measurement | Quantity | Unit Rate (Pak. Rs.) | Total Amount (Pak. Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| Total = |  |  |  |  |  |  |

Bill No. 1.2 Title: xx

| Item. # | Ref. | Description | Unit of Measurement | Quantity | Unit Rate (Pak. Rs.) | Total Amount (Pak. Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| Total = |  |  |  |  |  |  |

Bill No. 1.3 Title: xx

| Item. # | Ref. | Description | Unit of Measurement | Quantity | Unit Rate (Pak. Rs.) | Total Amount (Pak. Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| Total = |  |  |  |  |  |  |

Schedule of Adjustment Data

(Not Applicable)

| Element Number | Element Description | Bidder’s Amount [PKR] | Bidder’s Proposed Weighting for Coefficients* |
| --- | --- | --- | --- |

| i. ii. iii. iv. v. vi. vii viii ix | Non-adjustable Cement (OPC) Steel (M.S. bars [deformed, 40/60 grade] High Speed Diesel Labour (Un-skilled/skilled) HDPE/PVC Pipe RCC Pipe Bricks Crush |  | a: (0.2) b: ( ) c: ( ) d: ( ) e: ( ) f: ( ) g: ( ) h: ( ) i: ( ) |
| --- | --- | --- | --- |
| Total |  |  | 1.00 |

* The Bidder shall enter a value within the range such that the total weighting shall be equal to 1.00.

The base and current rates of each cost element shall be taken from the Federal Bureau of Statistics (FBS), Statistical Division Government of Pakistan, Statutory notifications and official price from public sector organizations, where available, for Price Variation Adjustment for the area(s) prescribed in the list, nearest to the location of the Works. Whereas the source for prices of High Speed Diesel (HSD) shall be either Statistical Bulletins or Pakistan State Oil (PSO) or Oil and Gas Regulatory Authority (OGRA). The base values shall be 28 days prior to the submission of Bid.

Note:

- Cement (OPC) [Bags] shall represent all kinds of Cement.

- Steel (M.S. bars deformed, 40/60 grade) shall represent all kinds of steel reinforcing bars and structural steel and all kind of MS angle/sheet and sections.

- High Speed Diesel [Litre] shall represent all kinds of fuels and lubricants.

- Labour (Un-skilled/skilled) shall represent all kinds of labour.

- HDPE/PVC pipe shall represent all kind of pressure (PN)/class and size of pipes

- RCC pipes shall represent all kinds/class and size of pipes

- Bricks shall represent all kind of bricks, bricks ballast and bricks tiles

- Crush shall represent all size and grade of crush.

Form of Affidavit

[This must be printed on judicial/stamp paper having worth of at least Pak. Rs. 100/-. The judicial/stamp paper must be a registered paper with the respective vendor, having necessary entries on it and must also be Notarized. This Affidavit must be signed by the authorized representative of the bidder whose respective authorization is already confirmed as part of the Bid]

Affidavit of:	 [name of authorized representative of the bidder], having CNIC # [enter number], as [mention the designation of authorized representative] on behalf of [name of the bidder], [complete official address]

I, the above-named deponent, do hereby solemnly state on oath that I am an authorized representative of [name of the bidder] and, hereby on behalf of [name of the bidder] declare, agree, understand, warrant and undertake that:

- [name of the bidder] intends to submit a Bid for contraction works & related services, viz., [brief description of works and services] in complete understanding of the bidding document for the said procurement, issued by the Allama Iqbal Open University,

- [name of the bidder] has not been blacklisted or debarred by any federal or provincial or regional Public Procurement Regulatory Authority and/or government ministry/ department/public sector organization, international financial institutions/donors [such as World Bank, Asian Development Bank etc.],

- [name of the bidder] is not engaged in any legal proceedings with and/or against any federal or provincial or regional Public Procurement Regulatory Authority and/or government ministry/department/public sector organization including Allama Iqbal Open University, international financial institutions/donors [such as World Bank, Asian Development Bank etc.]

- [name of the bidder] has no direct and/or indirect conflict of interest with any person, employee, staff and any member of the Procurement Evaluation Committee(s) of the Allama Iqbal Open University and/or the procurement activity for which [name of the bidder] is submitting bid,

- [name of the bidder] is submitting his bid conscious of market inflation and foreign currency exchange rates risks and shall comply with the offered rates during bid validity period, and if awarded a contract shall honour the offered rates without indulging into any argument and/or asking for price adjustment, thus bearing all the related risks,

- [name of the bidder] irrevocably and unconditionally undertake and warrant that in case [name of the bidder] defaults in honouring his offered/committed rates before or after, signing of contract agreement and/or supply order, the University shall be at liberty to forfeit the earnest money and/or  performance security and/or take any punitive action including blacklisting for desired period, and [name of the bidder] shall not challenge that decision in any court of law,

- [name of the bidder] accepts full responsibility and strict liability for making any false declaration, not making full disclosure, misrepresenting facts or taking any action likely to defeat the purpose of this declaration, representation and warranty.

DEPONENT

Verification:

Verified on oath at Islamabad on this -- day of the month of -------------- of 20-- that the contents of the foregoing Affidavit are true and correct to the best of my knowledge and belief and that nothing thereof has been concealed from Allama Iqbal Open University.

DEPONENT

INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE FORM

This Beneficial Ownership Disclosure Form (“Form”) is to be completed by the successful Bidder.  In case of joint venture, the Bidder must submit a separate Form for each member.  The beneficial ownership information to be submitted in this Form shall be current as of the date of its submission.

For the purposes of this Form, a Beneficial Owner of a Bidder is any natural person who ultimately owns or controls the Bidder by meeting one or more of the following conditions:

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder

Beneficial Ownership Disclosure Form

IFB No.: [insert number of IFB process]

Invitation for Bid Title: [insert identification]

To: [insert complete name of Employer]

In response to your request in the Letter of Acceptance dated [insert date of letter of Acceptance] to furnish additional information on beneficial ownership: [select one option as applicable and delete the options that are not applicable]

(i) we hereby provide the following beneficial ownership information.

Details of beneficial ownership

| Identity of Beneficial Owner | Directly or indirectly holding 25% or more of the shares (Yes / No) | Directly or indirectly holding 25 % or more of the Voting Rights (Yes / No) | Directly or indirectly having the right to appoint a majority of the board of the directors or an equivalent governing body of the Bidder (Yes / No) |
| --- | --- | --- | --- |
| [include full name (last, middle, first), nationality, country of residence] |  |  |  |

OR

(ii) We declare that there is no Beneficial Owner meeting one or more of the following conditions:

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder

OR

(iii) We declare that we are unable to identify any Beneficial Owner meeting one or more of the following conditions. [If this option is selected, the Bidder shall provide explanation on why it is unable to identify any Beneficial Owner]

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder]”

Name of the Bidder:*[insert complete name of the Bidder]_________

Name of the person duly authorized to sign the Bid on behalf of the Bidder:**[insert complete name of person duly authorized to sign the Bid]___________

Title of the person signing the Bid: [insert complete title of the person signing the Bid]______

Signature of the person named above: [insert signature of person whose name and capacity are shown above]_____

Date signed [insert date of signing] day of [insert month], [insert year]____

* In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder. In the event that the Bidder is a joint venture, each reference to “Bidder” in the Beneficial Ownership Disclosure Form (including this Introduction thereto) shall be read to refer to the joint venture member.

** Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.

If applicable